| Title | Use hand-held gas leakage detection equipment in a gas network |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 5 |

| Purpose | People credited with this unit standard are able to: demonstrate knowledge of procedures, documentation, and equipment for using hand-held gas leakage detection equipment; use hand-held gas leakage detection equipment; and interpret and record gas leakage detection equipment readings. |
| --- | --- |

| Classification | Gas Industry > Gas Network Operations |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	This unit standard is intended for, but is not limited to, workplace assessment.  The range statements relate to enterprise specific equipment, procedures, and processes.

2	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable manufacturer’s specifications, company procedures and legislative requirements.  This includes the knowledge and use of suitable tools and equipment.

3	Legislation, regulations and/or industry standards relevant to this unit standard include but are not limited to the current version of:

Gas Act 1992;

Health and Safety at Work Act 2015;

Gas (Safety and Measurement) Regulations 2010;

AS/NZS 4645.1:2018 Gas distribution networks – Network management;

AS 2885.3:2012 Pipelines – Gas and liquid petroleum Operation and maintenance;

and any subsequent amendments and replacements.

4	References

Australian standards (AS) may be found at www.standards.org.au;

Australian/New Zealand standards (AS/NZS) may be found at www.standards.govt.nz.

5	Any new, amended or replacement Acts, regulations, standards, codes of practice, guidelines, or authority requirements or conditions affecting this unit standard will take precedence for assessment purposes, pending review of this unit standard.

6	The candidate will be assessed on enterprise-specific hand-held equipment that may include: thermal conductivity detector (e.g. Gasco seeker), flame ionisation detector (FID), laser detection, personal multi-gas detector.

7	Definitions

Company procedures mean the documented methods for performing work activities, and include health and safety, operational, environmental, and quality management requirements.  They may refer to legislation, regulations, guidelines, standard operating procedures, manuals, codes of practice, or policy statements.

LEL stands for lower explosive limit.

UEL stands for upper explosive limit.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of procedures, documentation, and equipment for using hand-held gas leakage detection equipment.

Performance criteria

1.1	Documentation and company procedures for using gas leakage detection equipment are located and interpreted in terms of general use.

1.2	Types and function of equipment, components, and materials for using gas leakage detection equipment are identified and described.

Range	type may include – combustible gas detector, flame ionisation detector, personal multi-gas detector, laser detector;

evidence of three types are required;

components may include – pumps, hoses, gauges, water traps, hydrogen cylinders, probes, aspirators, gas scale, batteries, filters, meter scale, multi-gas cylinder;

function may include – 0-10% LEL, 0-100% LEL, 0-100% gas, zero, parts per million.

1.3	Potential hazards associated with using hand-held gas leakage detection equipment and their controls are described.

Range	hazards may include – faulty equipment, incorrect readings, hazardous atmosphere, incorrect batteries;

evidence of three hazards is required;

controls may include – equipment selection, equipment calibration,

equipment maintenance, training, procedures and manufacturer’s instructions;

evidence of three different controls is required.

Outcome 2

Use hand-held gas leakage detection equipment in a gas network.

Performance criteria

2.1	Gas leakage detection equipment is checked for calibration.

Range	may include – calibration label, reference cylinder, tag, certificate, currency.

2.2	Functional checks are completed.

Range	may include – detector purged, zero reading, calibration gas used, battery level check, filter check, hose and wand check.

2.3	Gas leakage detection equipment is operated.

Outcome 3

Interpret and record gas leakage detection equipment readings.

Performance criteria

3.1	Readings are interpreted in terms of LEL and UEL.

3.2	Readings are interpreted in terms of parts per million or gas in air.

3.3	Readings are recorded.

| Planned review date | 31 December 2026 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 19 November 1997 | 31 December 2018 |
| Revision | 2 | 3 August 2000 | 31 December 2018 |
| Review | 3 | 22 October 2002 | 31 December 2018 |
| Review | 4 | 20 November 2006 | 31 December 2020 |
| Review | 5 | 17 August 2017 | 31 December 2021 |
| Revision | 6 | 30 August 2018 | 31 December 2021 |
| Review | 7 | 27 February 2020 | N/A |
| Rollover | 8 | 30 January 2025 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0014 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council qualifications@waihangaararau.nz if you wish to suggest changes to the content of this unit standard.