| Title | Use fresh air distance breathing apparatus in a gas network |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 3 |

| Purpose | People credited with this unit standard are able to: demonstrate knowledge of procedures, documentation and equipment for using fresh air distance breathing apparatus; and use fresh air distance breathing apparatus in a gas network. |
| --- | --- |

| Classification | Gas Industry > Gas Network Operations |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	This unit standard is intended for, but is not limited to, workplace assessment.  The range statements relate to enterprise specific equipment, procedures, and processes.

2	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable manufacturer’s specifications, company procedures and legislative requirements.  This includes the knowledge and use of suitable tools and equipment.

3	Legislation, regulations and/or industry standards relevant to this unit standard include but are not limited to the current version of:

Health and Safety at Work Act 2015;

AS/NZS 4645.1:2018 Gas distribution networks – Network management;

AS 2885.3-2012 Pipelines – Gas and liquid petroleum Operation and maintenance;

and any subsequent amendments and replacements.

4	References

Australian standards (AS) may be found at www.standards.org.au;

Australian/New Zealand standards (AS/NZS) may be found at www.standards.govt.nz.

5	Any new, amended or replacement Acts, regulations, standards, codes of practice, guidelines, or authority requirements or conditions affecting this unit standard will take precedence for assessment purposes, pending review of this unit standard.

6	This unit standard covers either fan-assisted or non-fan assisted breathing apparatus.

7	Assessment against this unit standard may take place under real or practical simulated conditions.

8	Definition

Company procedures mean the documented methods for performing work activities, and include health and safety, operational, environmental, and quality management requirements.  They may refer to legislation, regulations, guidelines, standard operating procedures, manuals, codes of practice, or policy statements.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of procedures, documentation, and equipment for using fresh air distance breathing apparatus.

Performance criteria

1.1	Documentation and company procedures for using fresh air distance breathing apparatus are located and interpreted.

1.2	Types and function of distance breathing apparatus, components, and materials are described.

Range	full face mask, breathing hose;

may include – harness, waist belt, fan unit, vent, filter, ground spike, hose coupler.

1.3	Potential environmental and safety hazards are identified and controlled.

Range	hazards may include – restricted working, asphyxiation, health hazards, poor communication;

evidence of three hazards is required;

controls may include – personal protective equipment, safety observer, hygiene, safe atmosphere, gas detection, communication equipment;

evidence of three different controls is required.

1.4	Potential faults associated with fresh air breathing apparatus components are identified prior to use and steps to remedy them are described.

Outcome 2

Use fresh air distance breathing apparatus in a gas network.

Performance criteria

2.1	Fresh air distance breathing apparatus is laid out for use.

2.2	Face mask and visor are cleaned and prepared for use.

2.3	Fresh air distance breathing apparatus is put on.

2.4	Fit and soundness of face mask are tested.

2.5	Soundness of system is checked.

2.6	Fresh air distance breathing apparatus is used.

2.7	Equipment is removed, checked, and cleaned for storage.

| Planned review date | 31 December 2026 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 19 November 1997 | 31 December 2018 |
| Revision | 2 | 3 August 2000 | 31 December 2018 |
| Review | 3 | 22 October 2002 | 31 December 2018 |
| Review | 4 | 20 November 2006 | 31 December 2020 |
| Review | 5 | 17 August 2017 | 31 December 2021 |
| Revision | 6 | 30 August 2018 | 31 December 2021 |
| Review | 7 | 27 February 2020 | N/A |
| Rollover | 8 | 30 January 2025 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0014 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council qualifications@waihangaararau.nz if you wish to suggest changes to the content of this unit standard.