| Title | Demonstrate knowledge of using reinforcing steel for construction |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 1 |

| Purpose | People credited with standard can demonstrate knowledge of: - using reinforcing steel for construction; and - health and safety for using reinforcing steel for construction. |
| --- | --- |

| Classification | Construction Trades > Carpentry |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Range

Evidence generated for assessment against this standard must reflect workplace and industry requirements specified in:

- documented worksite specifications, procedures, and practices;

- manufacturer recommendations, specifications, and technical data sheets;

- applicable specifications from other sources such as an architect, designer, engineer, or supervisor;

- applicable material safety data sheets;

- NZS 3109:1997 Concrete construction;

- NZS 3604:2011 Timber Framed Buildings;

- NZS 4230:2004 Design of reinforced concrete masonry structures;

- the New Zealand Building Code.

Evidence generated for assessment against this standard must reflect the requirements of:

- Building Act 2004

- Health and Safety at Work Act 2015

- Resource Management Act 1991

- Building Regulations 1992

- Building (Forms) Regulations 2004

- Health and Safety in Employment Regulations 1995.

2	References

NZS 3109:1997 Concrete construction.

NZS 3604:2011 Timber Framed Buildings (SNZ).

NZS 4230:2004 Design of reinforced concrete masonry structures.

Available from Standards NZ (http://www.standards.co.nz).

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of using reinforcing steel for construction.

Performance criteria

1.1	Describe the properties and purpose of types of reinforcing steel used in construction.

Range	round bars, deformed bars, high-yield bars, mesh.

1.2	Describe how to select, place, and secure reinforcing steel.

Range	footings, pads, foundation walls, floor slabs;

cutting and bending, tying.

1.3	Calculate the required lengths and quantities of reinforcing steel for a construction job.

1.4	Describe how to store reinforcing steel to prevent damage or deterioration.

Outcome 2

Demonstrate knowledge of health and safety for using reinforcing steel for construction.

Range	labour, identification of hazards and controls, plant;

plant includes – any machinery, vehicle, vessel, aircraft, equipment (including personal protective equipment), appliance, container, implement, or tool; any component of any of those things; anything fitted or connected to any of those things;

personal protective equipment includes – anything used or worn by a person (including clothing) to minimise risks to the person’s health and safety; air supplied respiratory equipment.

Performance criteria

2.1	Identify and describe health and safety requirements for working with reinforcing steel used for construction.

| Replacement information | This unit standard and unit standard 13046 replaced unit standard 610. |
| --- | --- |

| Planned review date | 31 December 2026 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 21 May 1999 | 31 December 2023 |
| Review | 2 | 26 February 2002 | 31 December 2023 |
| Review | 3 | 25 January 2008 | 31 December 2023 |
| Review | 4 | 30 September 2021 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0048 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact the Building and Construction Industry Training Organisation at national.office@bcito.org.nz if you wish to suggest changes to the content of this unit standard.