| Title | Excavate and fill a site for footings and slab construction under supervision |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 6 |

| Purpose | People credited with this standard can: - excavate and fill a site for footings and slab construction under supervision; and - clean and store tools, plant and equipment used to excavate and fill a site for footings and slab construction. |
| --- | --- |

| Classification | Construction Trades > Carpentry |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Scope of practice

Working under supervision means the ability to work to construction workplace standards under the supervision of a commercially competent practitioner whose role is to ensure the completed construction meets industry and regulatory requirements.  This standard does not recognise commercial competence.

2	Assessment

This unit standard must be assessed under the supervision of a commercially competent practitioner in construction workplace conditions that reflect:

- current health, safety, industry, and workplace requirements; and

- industry requirements for commercially acceptable timeframes.

Evidence generated for assessment against this standard must be verified by a person who has current expertise in the building and construction trades and has had the opportunity to regularly observe the candidate in the workplace.

3	Range

Evidence generated for assessment against this standard must reflect workplace and industry requirements specified in:

- documented worksite specifications, procedures, and practices;

- manufacturer recommendations, specifications, and technical data sheets;

- applicable specifications from other sources such as an architect, designer, engineer, or supervisor;

- applicable material safety data sheets;

- NZS 3109:1997 Concrete construction;

- NZS 3604:2011 Timber Framed Buildings;

- the New Zealand Building Code.

Evidence generated for assessment against this standard must reflect the requirements of:

- Building Act 2004;

- Health and Safety at Work Act 2015;

- Resource Management Act 1991;

- Building Regulations 1992;

- Building (Forms) Regulations 2004;

- Health and Safety in Employment Regulations 1995.

4	References

NZS 3109:1997 Concrete construction.  Available from Standards NZ (http://www.standards.co.nz).

NZS 3604:2011 Timber Framed Buildings.  Available from Standards NZ (http://www.standards.co.nz).

Outcomes and performance criteria

Outcome 1

Excavate and fill a site for footings and slab construction under supervision.

Performance criteria

1.1	Establish the position, size, line, depths, and location of services for excavating a site for footings and a concrete slab.

1.2	Excavate a site for footings and a concrete slab.

Range	work methods, plant, equipment, identification of hazards and controls.

1.3	Place, spread, and compact the hardfill and blinding layer.

Range	levelling, compaction.

1.4	Lay a damp-proof membrane to meet the specifications in NZS 3604:2011.

1.5	Seal the damp-proof membrane joints and penetrations.

Outcome 2

Clean and store tools, plant, and equipment used to excavate and fill a site for footings and slab construction.

Range	plant includes – any machinery, vehicle, vessel, aircraft, equipment (including personal protective equipment), appliance, container, implement, or tool; any component of any of those things; anything fitted or connected to any of those things;

personal protective equipment includes – anything used or worn by a person (including clothing) to minimise risks to the person’s health and safety; air-supplied respiratory equipment.

Performance criteria

2.1	Clean workplace, tools, and plant used to excavate and fill a site for footings and slab construction.

2.2	Store tools and plant used to excavate and fill a site for footings and slab construction.

| Replacement information | This unit standard and unit standard 13006 replaced unit standard 607. |
| --- | --- |

| Planned review date | 31 December 2026 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 21 May 1999 | 31 December 2023 |
| Review | 2 | 26 February 2002 | 31 December 2023 |
| Review | 3 | 25 January 2008 | 31 December 2024 |
| Review | 4 | 30 September 2021 | N/A |
| Revision | 5 | 28 March 2024 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0048 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact the Waihanga Ara Rau Construction and Infrastructure Workforce Development Council qualifications@waihangaararau.nz if you wish to suggest changes to the content of this unit standard.