| Title | Construct formwork for footings and foundation walls up to 1.2 metres tall under supervision |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 9 |

| Purpose | People credited with this standard can, under supervision: - construct formwork for footings and foundation walls up to 1.2 metres tall; and - clean and store plant, tools, and equipment used to construct formwork for footings and foundation walls up to 1.2 metres tall. |
| --- | --- |

| Classification | Construction Trades > Carpentry |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Scope of practice

Working under supervision means the ability to work to construction workplace standards under the supervision of a commercially competent practitioner whose role is to ensure the completed construction meets industry and regulatory requirements.  This standard does not recognise commercial competence.

2	Assessment

This unit standard must be assessed under the supervision of a commercially competent practitioner in construction workplace conditions that reflect:

- current health, safety, industry, and workplace requirements; and

- industry requirements for commercially acceptable timeframes.

Evidence generated for assessment against this standard must be verified by a person who has current expertise in the building and construction trades and has had the opportunity to regularly observe the candidate in the workplace.

3	Range

Evidence generated for assessment against this standard must reflect workplace and industry requirements specified in:

- documented worksite specifications, procedures, and practices;

- manufacturer recommendations, specifications, and technical data sheets;

- applicable specifications from other sources such as an architect, designer, engineer, or supervisor;

- applicable material safety data sheets;

- NZS 3109:1997 Concrete construction;

- NZS 3604:2011 Timber Framed Buildings;

- NZS 4230:2004 Design of reinforced concrete masonry structures;

- the New Zealand Building Code.

Evidence generated for assessment against this standard must reflect the requirements of:

- Building Act 2004;

- Health and Safety at Work Act 2015;

- Resource Management Act 1991;

- Building Regulations 1992;

- Building (Forms) Regulations 2004;

- Health and Safety in Employment Regulations 1995.

4	References

NZS 3109:1997 Concrete construction.  Available from Standards NZ (http://www.standards.co.nz).

NZS 3604:2011 Timber Framed Buildings.  Available from Standards NZ (http://www.standards.co.nz).

NZS 4230:2004 Design of reinforced concrete masonry structures.  Available from Standards NZ (http://www.standards.co.nz).

Outcomes and performance criteria

Outcome 1

Construct formwork for footings and foundation walls up to 1.2 metres tall under supervision.

Range	shutters, stud, sheathing.

Performance criteria

1.1	Fabricate and erect formwork for footings and foundations up to 1.2 metres tall.

Range	line, level and plumb; specified tolerances; openings; chases; joints; fixing materials; height; bracing; ties;

joints prevent loss of fines.

1.2	Tie and brace formwork to maintain specified tolerances.

1.3	Dismantle formwork.

Range	clean, repair, store.

Outcome 2

Clean and store plant, tools, and equipment used to construct formwork for footings and foundation walls up to 1.2 metres tall.

Range	plant includes – any machinery, vehicle, vessel, aircraft, equipment (including personal protective equipment), appliance, container, implement, or tool; any component of any of those things; anything fitted or connected to any of those things;

personal protective equipment includes – anything used or worn by a person (including clothing) to minimise risks to the person’s health and safety; air-supplied respiratory equipment.

Performance criteria

2.1	Clean workplace, tools, and plant used to construct formwork for footings and foundation walls up to 1.2 metres tall.

2.2	Store tools, plant and equipment used to construct formwork for footings and foundation walls up to 1.2 metres tall.

| Replacement information | This unit standard and unit standard 13008 replaced unit standard 609. |
| --- | --- |

| Planned review date | 31 December 2026 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 21 May 1999 | 31 December 2023 |
| Review | 2 | 26 February 2002 | 31 December 2023 |
| Review | 3 | 25 January 2008 | 31 December 2024 |
| Review | 4 | 30 September 2021 | N/A |
| Revision | 5 | 28 March 2024 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0048 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact the Waihanga Ara Rau Construction and Infrastructure Workforce Development Council qualifications@waihangaararau.nz if you wish to suggest changes to the content of this unit standard.