| Title | Place, finish, and cure concrete for footings and foundation walls under supervision |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 4 |

| Purpose | People credited with this standard can, under supervision: - place, finish, and cure concrete for footings and foundation walls; and - clean and store tools, plant and equipment used to place, finish, and cure concrete. |
| --- | --- |

| Classification | Construction Trades > Carpentry |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Scope of practice

Working under supervision means the ability to work to construction workplace standards under the supervision of a commercially competent practitioner whose role is to ensure the completed construction meets industry and regulatory requirements.  This standard does not recognise commercial competence.

2	Assessment

This unit standard must be assessed under the supervision of a commercially competent practitioner in construction workplace conditions that reflect:

- current health, safety, industry, and workplace requirements; and

- industry requirements for commercially acceptable timeframes.

Evidence generated for assessment against this standard must be verified by a person who has current expertise in the building and construction trades and has had the opportunity to regularly observe the candidate in the workplace.

3	Range

Evidence generated for assessment against this standard must reflect workplace and industry requirements specified in:

- documented worksite specifications, procedures, and practices;

- manufacturer recommendations, specifications, and technical data sheets;

- applicable specifications from other sources such as an architect, designer, engineer, or supervisor;

- applicable material safety data sheets;

- NZS 3109:1997 Concrete Construction;

- NZS 3604:2011 Timber Framed Buildings;

- the New Zealand Building Code.

Evidence generated for assessment against this standard must reflect the requirements of:

- Building Act 2004;

- Health and Safety at Work Act 2015;

- Resource Management Act 1991;

- Building Regulations 1992;

- Building (Forms) Regulations 2004;

- Health and Safety in Employment Regulations 1995.

4	References

NZS 3604:2011 Timber Framed Buildings.  Available from Standards NZ (http://www.standards.co.nz).

NZS 3109:1997 Concrete Construction.  Available from Standards NZ (http://www.standards.co.nz).

Outcomes and performance criteria

Outcome 1

Place, finish, and cure concrete for footings and foundation walls under supervision.

Performance criteria

1.1	Receive concrete and check the delivery for consistency with the order.  Address any inconsistencies.

1.2	Place concrete as close to its final position as practical.

1.3	Compact concrete to give maximum density.

1.4	Finish a wet concrete surface.

Range	footings, foundation walls.

1.5	Cure concrete.

Range	one of – ponding, covering, curing compound.

1.6	Set out concrete cutting to allow for shrinkage.

Outcome 2

Clean and store tools, plant, and equipment used to place, finish, and cure concrete.

Range	plant includes – any machinery, vehicle, vessel, aircraft, equipment (including personal protective equipment), appliance, container, implement, or tool; any component of any of those things; anything fitted or connected to any of those things;

personal protective equipment includes – anything used or worn by a person (including clothing) to minimise risks to the person’s health and safety; air-supplied respiratory equipment.

Performance criteria

2.1	Clean workplace, tools, and plant used to place, finish, and cure concrete.

2.2	Store tools and plant used to place, finish, and cure concrete.

| Replacement information | This unit standard and unit standard 13010 replaced unit standard 611. |
| --- | --- |

| Planned review date | 31 December 2026 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 21 May 1999 | 31 December 2023 |
| Review | 2 | 26 February 2002 | 31 December 2023 |
| Review | 3 | 25 January 2008 | 31 December 2023 |
| Review | 4 | 30 September 2021 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0048 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact the Building and Construction Industry Training Organisation at national.office@bcito.org.nz if you wish to suggest changes to the content of this unit standard.