| Title | Carry out insulating oil sampling and voltage breakdown tests |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 3 |

| Purpose | People credited with this unit standard are able to carry out insulating oil sampling and voltage breakdown tests. |
| --- | --- |

| Classification | Electricity Supply > Electricity Supply - Testing |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable legislative and industry requirements.

2 	Legislation, regulations and/or industry standards relevant to this unit standard include but are not limited to the current version of the Health and Safety at Work Act 2015; and any subsequent amendments and replacements; Electricity Act 1992; Electricity (Safety) Regulations 2010; Electricity supply industry codes of practice and documented enterprise procedures, including Safety Manual – Electricity Industry (SM-EI) (2015) Wellington: Electricity Engineers’ Association, available at www.eea.co.nz.

3	Definitions

Asset owner refers to a participant who owns or operates assets used for generating or conveying electricity.

Industry requirements include all asset owner requirements; manufacturers’ specifications; and enterprise requirements which may include the documented workplace policies, procedures, specifications, business, and quality management requirements relevant to the workplace in which assessment is carried out.

4	Sampling may include but is not limited to – minimum oil volume, precleaning at sample point, discharge before sampling, flow rate into test vessel, sitting time, recorded temperature and relative humidity.

Outcomes and performance criteria

Outcome 1

Carry out insulating oil sampling and voltage breakdown tests.

Performance criteria

  - Equipment is prepared for sampling and testing.

Range	technical specifications and performance standard for oil, test procedure, sampling requirements, cleaning and drying equipment.

1.2	The oil sample is taken from the equipment in accordance with client or other accepted guidelines.

1.3	A basic voltage breakdown test is applied in a controlled way using client-approved test procedures.

Range	evidence of six procedures is required;

may include but is not limited to – the rate of voltage increase by time, steady voltage period.

1.4	Test results are recorded, interpreted and analysed for compliance with the standard required.

Range 	may include but is not limited to – reference to equipment manufacturer’s requirements; client standards; international standards and previous test results recorded.

1.5	Documentation is completed, and results are reported within the required time-frame.

| Planned review date | 31 December 2025 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 27 April 1998 | 31 December 2012 |
| Revision | 2 | 11 February 2004 | 31 December 2012 |
| Rollover and Revision | 3 | 20 June 2008 | 31 December 2012 |
| Review | 4 | 08 December 2011 | 31 December 2022 |
| Review | 5 | 23 April 2020 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0120 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

- Comments on this unit standard

Please contact Connexis – Infrastructure Industry Training Organisation qualifications@connexis.org.nz if you wish to suggest changes to the content of this unit standard.