| Title | Demonstrate knowledge of switchboard circuits |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 4 |

| Purpose | This unit standard is for people engaged in the manufacture of switchboards in the electrotechnology industry. People credited with this unit standard are able to: – explain the functions of switchboard components and circuits – use drafting software to draw a switchboard schematic diagram – explain the potential for electrical interference. |
| --- | --- |

| Classification | Electrical Engineering > Electric Switchboards |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	This unit standard may be used for learning and assessment off-job or on-job.

2	References

- Accident Compensation Act 2001

- AS/NZS 3000 (version as cited in the Electricity (Safety) Regulations), Electrical installations (known as the Australian/New Zealand Wiring Rules)

- AS/NZS 61439.4:2016, Low-voltage switchgear and controlgear assemblies – Part 4: Particular requirements for assemblies for construction sites (ACS),

available at Standards NZ

- Electricity Act 1992

- Electricity (Safety) Regulations 2010

- Health and Safety at Work Act 2015

- The New Zealand Electrical Codes of Practice, available at WorkSafe New Zealand, worksafe.govt.nz

and all subsequent amendments and replacements.

3	Definitions

AC – alternating current.

DC – direct current.

Industry practice – those practices that competent practitioners within the industry recognise as current industry best practice.

PLC – Programmable Logic Controller.

Safe and sound practice – this relates to the installation of electrical equipment and is defined in AS/NZS 3000.

4	Range

a	Candidates may refer to current legislation and Standards during assessment.

b	Demonstration of safe working practices and installation in accordance with safe and sound practice are essential components of assessment of this unit standard.

c	All evidence presented for assessment against this unit standard must be in accordance with:

i	legislation

ii	policies and procedures

iii	ethical codes

iv	Standards – may include but are not limited to those listed in Schedule 2 of the Electricity (Safety) Regulations 2010

v	applicable site, enterprise, and industry practice

vi	where appropriate manufacturers’ instructions, specifications, and data sheets.

Outcomes and performance criteria

Outcome 1

Explain the functions of switchboard components and circuits.

Range	explanation must include use of a three-phase switchboard diagram of at least 500 amps capacity.

Performance criteria

1.1	Identify and describe the functions of at least ten switchgear components.

1.2	Explain the functions of the main power distribution system, associated protective devices, and metering.

1.3	Demonstrate and explain how control circuits operate.

Range	direct-on-line, electrical motor starters, electronic motor starters, PLC control of motor operation, timer control, lighting control;

evidence of five different types of control circuits is required.

Outcome 2

Use drafting software to draw a switchboard schematic diagram.

Performance criteria

2.1	Draw switchboard schematic diagrams to specification.

Range	specification includes – three-phase motor starter with protection and two control devices;

control devices may include but are not limited to – push button, timer, PLC.

2.2	Draw the diagram with symbols regularly and uncommonly used in the industry.

2.3	Ensure the diagram has sufficient detail to enable unique identification of all items necessary for installation of the circuit in an enclosure.

Outcome 3

Explain the potential for electrical interference.

Performance criteria

3.1	Explain the mechanisms of electrical interference on AC and DC voltage signals in terms of their effect on circuit performance.

3.2	Explain how to prevent common sources of electrical interference on low voltage signals with reference to the minimum installation requirements to eliminate interference.

Range	sources – cable alignment, power cables, cable proximity, radio signals, switching devices.

| Planned review date | 31 December 2026 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 31 August 1998 | 31 December 2013 |
| Revision | 2 | 12 March 2002 | 31 December 2013 |
| Review | 3 | 20 March 2008 | 31 December 2020 |
| Rollover and Revision | 4 | 15 March 2012 | 31 December 2020 |
| Revision | 5 | 15 January 2014 | 31 December 2020 |
| Review | 6 | 17 November 2016 | N/A |
| Rollover and Revision | 7 | 25 July 2024 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact the Waihanga Ara Rau Construction and Infrastructure Workforce Development Council qualifications@WaihangaAraRau.nz if you wish to suggest changes to the content of this unit standard.