| Title | Demonstrate and apply knowledge of safeguards for use with portable electrical appliances |  |  |
| --- | --- | --- | --- |
| Level | 2 | Credits | 3 |

| Purpose | This unit standard covers knowledge of safeguards used in conjunction with electrical tools and appliances to prevent electrical accidents. People credited with this unit standard are able to: – demonstrate knowledge of basic electrical protection – demonstrate knowledge of the regulations covering portable electrical appliances safeguards – demonstrate knowledge of isolating transformers – demonstrate knowledge of double insulation for the purpose of protection – inspect portable electrical appliances for defects. |
| --- | --- |

| Classification | Electrical Engineering > Core Electrical |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	This unit standard has been developed for learning and assessment off-job.

2	Definitions

Industry practice – those practices that competent practitioners within the industry recognise as current industry best practice.

Safe and sound practice – as it relates to the installation of electrical equipment is defined in AS/NZS 3000 (version as cited in the Electricity (Safety) Regulations), Electrical Installations (known as the Australian/New Zealand Wiring Rules).

3	Range

a	Candidates may refer to current legislation and Standards during assessment.

b	Demonstration of safe working practices and installation in accordance with safe and sound practice are essential components of assessment of this unit standard.

c	All activities and evidence presented for all outcomes and performance criteria in this unit standard must be in accordance with:

i	legislation

ii	policies and procedures

iii	ethical codes

iv	Standards – may include but are not limited to those listed in Schedule 2 of the Electricity (Safety) Regulations 2010

v	applicable site, enterprise, and industry practice

vi	where appropriate, manufacturers’ instructions, specifications, and data sheets.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of basic electrical protection.

Performance criteria

1.1	Describe requirements of electrical protection for people and property.

1.2	Describe electrical safety, isolation, and testing procedures.

1.3	Outline the requirements of mains protection.

Range	RCDs, isolating transformers, circuit breakers, protection of electrical circuits and equipment, protection of overhead cables, protection of underground cables, electrical barriers, service segregation.

1.4	Outline protection issues and requirements for temporary supplies facilities.

Outcome 2

Demonstrate knowledge of the regulations covering portable electrical appliances safeguards.

Performance criteria

2.1	Describe situations that require safeguards.

2.2	Identify the type of safeguards that may be used for each situation.

Outcome 3

Demonstrate knowledge of isolating transformers.

Performance criteria

3.1	Describe the construction and operation of an isolating transformer with reference to its component parts.

3.2	Describe the manner in which an isolating transformer protects people from electric shock in terms of electric current path through the body.

3.3	State test requirements for isolating transformers.

3.4	Explain conditions for safe use of isolating transformers.

Range	one appliance for maximum safety, interconnection of earth conductors when used with multiple appliances, use of other safeguards in conjunction with isolating transformer.

Outcome 4

Demonstrate knowledge of double insulation for the purpose of protection.

Performance criteria

4.1	Describe double insulation of an appliance in terms of what it is and how it protects the user from electric shock.

4.2	Recognise the symbol for double insulation from appliance nameplate or graphical representation.

4.3	State typical uses of double insulation.

Range	portable tools, domestic appliances, extension leads.

4.4	State essential differences between an earthed appliance and a double insulated appliance.

4.5	Give reasons as to why exposed metalwork must not be connected to earth.

Outcome 5

Inspect portable electrical appliances for defects.

Range	may include but is not limited to – portable power tool, extension cord, home or office appliance;

evidence of three different appliances is required.

Performance criteria

5.1	Visually check appliance and cord for defects.

Range	appliance defects may include but are not limited to – missing screws, handles, guards, controls; cracked body or hand grips, damaged chucks, blade clamps, tool holders, cord grips;

cord defects may include but are not limited to – cuts, nicks, abrasions, tightly twisted or knotted, flattened, compressed, plug top incomplete, plug not securely fitted to cord;

evidence of three defects is required.

5.2	Verify operation of appliance that it works as intended.

5.3	Label defective appliances and put aside for repair by a competent person.

| Replacement information | This unit standard replaced unit standard 1183. |
| --- | --- |

| Planned review date | 31 December 2025 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 10 February 1999 | 31 December 2013 |
| Revision | 2 | 3 April 2001 | 31 December 2013 |
| Review | 3 | 26 May 2005 | 31 December 2021 |
| Rollover and Revision | 4 | 15 March 2012 | 31 December 2021 |
| Revision | 5 | 15 January 2014 | 31 December 2021 |
| Review | 6 | 21 July 2016 | N/A |
| Revision | 7 | 16 March 2017 | N/A |
| Rollover and Revision | 8 | 25 May 2023 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council qualifications@WaihangaAraRau.nz if you wish to suggest changes to the content of this unit standard.