| Title | Demonstrate knowledge of industrial process control |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 2 |

| Purpose | This unit standard covers the basic concepts of the control of industrial processes, and is intended for people in the electrical and related trades. People credited with this unit standard are able to: – demonstrate knowledge of common transducers; – demonstrate knowledge of open-loop and closed-loop control; and - demonstrate knowledge of control actions and three-term controllers. |
| --- | --- |

| Classification | Electrical Engineering > Core Electrical |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

This unit standard has been developed for learning and assessment off-job.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of common transducers.

Performance criteria

1.1	Transducers are identified from physical or pictorial displays, and at least one application for each is stated.

Range	one transducer for each of – light, temperature, humidity, pressure or strain, level, flow, speed, motion.

1.2	Transducers are described in terms of their function and principles of operation.

Range	photo-diode, solar cell, thermocouple, resistance thermometer, strain gauge, piezo-electric device, float switch, capacitive level transducer, pulse disc, tachogenerator.

1.3	Standard control signal ranges used for process control are stated.

Range	control signals – voltage, current, pressure.

Outcome 2

Demonstrate knowledge of open-loop and closed-loop control.

Performance criteria

2.1	Control terms are defined in accordance with industry practice.

Range	comparator, set point value, feedback, deviation, gain, final control element, controlled variable, measuring element, proportional offset.

2.2	Open-loop control is described with the aid of a block diagram.

2.3	Closed-loop control is described with the aid of a block diagram.

2.4	The features of closed-loop control systems are described in terms of measuring, comparing, and adjusting.

2.5	Advantages of closed-loop control over open-loop control are stated for common control processes.

Range	control processes – level, temperature, motor speed.

Outcome 3

Demonstrate knowledge of control actions and three-term controllers.

Performance criteria

3.1	Objectives of good control systems are explained.

Range	low offset, fast response, stability.

3.2	Types of control action are described with the aid of process response diagrams.

Range	on-off, proportional, derivative, integral.

3.3	Operation of the three-term controller is described using a block diagram.

Range	buffer amplifier, comparator, proportional amplifier, integral amplifier, derivative amplifier.

| Replacement information | This unit standard replaced unit standard 1711 and unit standard 2026. |
| --- | --- |

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 10 February 1999 | 31 December 2013 |
| Review | 2 | 26 May 2005 | 31 December 2021 |
| Rollover and Revision | 3 | 15 March 2012 | 31 December 2021 |
| Revision | 4 | 15 January 2014 | 31 December 2021 |
| Review | 5 | 21 July 2016 | 31 December 2027 |
| Review | 6 | 24 March 2022 | 31 December 2027 |
| Rollover and Revision | 7 | 25 May 2023 | 31 December 2027 |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.