| Title | Respond to electricity supply external system operations communications |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 5 |

| Purpose | People credited with this unit standard are able to: process incoming information; communicate interruption information; and coordinate operations at the power system interface. |
| --- | --- |

| Classification | Electricity Supply > Electricity Supply – Power System Management |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable legislative and industry requirements.

2	Legislation, regulations and/or industry standards relevant to this unit standard include but are not limited to

- Health and Safety at Work Act 2015;

- Electricity Act 1992;

- Electricity (Safety) Regulations 2010;

- Electricity supply industry codes of practice and documented enterprise procedures, including Safety Manual – Electricity Industry (SM-EI) and EEA Guide Switching Instructions and Communications 2019 available from www.eea.co.nz;

and any subsequent amendments and replacements.

3	Definitions

Asset owner refers to a participant who owns or operates assets used for generating or conveying electricity.

Industry requirements include all asset owner requirements and standards; manufacturers’ specifications; and enterprise requirements which cover the documented workplace policies, procedures, specifications, business, and quality management requirements relevant to the workplace in which assessment is carried out.

Power system interface refers to the interface between the network operator and the field staff.

SCADA – Supervisory Control and Data Acquisition system used for control, indication, and monitoring purposes.

Switching instruction is a planned sequence of operating actions (or a single action) that has been compiled in an approved format. It can also be referred to as an operating order or operating sequence.

Outcomes and performance criteria

Outcome 1

Process incoming information.

Performance criteria

  - Incoming external information is received and forwarded for internal action.

Range	may include but is not limited to – loss of supply, faults, equipment damage, car hits, animals up poles, report urgency classified, reporting, asset owner procedures.

1.2	Urgency implications of external communications for network security are determined and documented for reporting purposes.

Range	may include but is not limited to – priority of action required, bomb threats, risk to equipment, risk to life, timeframe specified by asset owner guidelines, reporting to supervising officer.

  - The interpretation of information is clarified in consultation with others where required.

Range	may include but is not limited to – consultation with system controllers, supervising officer, release coordinator, system operations manager.

Outcome 2

Communicate interruption information.

Performance criteria

2.1	Planned interruptions are documented and forwarded for approval by network control centre in accordance with network operating standards and timeframe.

Range	may include but is not limited to – request received with adequate lead-time, implications of the planned interruption evaluated.

2.2	Contractors are advised promptly of acceptance or rejection of release of network equipment to carry out work associated with interruption.

Range	may include but is not limited to – non-acceptance reasons, alternate dates and times, acceptance limitations or conditions.

2.3	Customers affected by planned power interruptions are consulted without delay.

Range	may include but is not limited to – communication by letter, public notice, letterbox drop, broadcast radio, phone consultation.

Outcome 3

Coordinate operations at the power system interface.

Performance criteria

3.1	Scheduled interruptions and/or forced outages are coordinated and take place within timeframe slots provided or by agreements.

Range	may include but is not limited to – asset owner guidelines or customer guarantee.

3.2	All work requests requiring a common power system interruption are coordinated into a single outage.

Range	may include but is not limited to – rationalise concurrent work requests into single outage where compatible activities allow.

3.3	The implications of unavailability of the SCADA equipment when approving requests for planned interruptions are considered for maintaining operational security.

Range	may include but is not limited to – unavailability of metering, protection, load control, ancillary indication.

3.4	Checks are carried out to ensure planned interruptions do not conflict with each other.

Range	may include but is not limited to – scope of work equipment affected, timeframe.

3.5	Details of switching instructions are confirmed with the operator prior to actioning switching operations.

Range	may include but is not limited to – work approval details.

3.6	Communication is maintained with contractor at agreed intervals to monitor progress and status of work, until work at power system interface is completed.

Range	may include but is not limited to – live line work communications, progress reports, test requests.

| Planned review date | 31 December 2026 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 3 August 1999 | 31 December 2018 |
| Revision | 2 | 11 February 2004 | 31 December 2018 |
| Rollover and Revision | 3 | 26 November 2007 | 31 December 2018 |
| Review | 4 | 16 April 2010 | 31 December 2019 |
| Review | 5 | 16 March 2017 | 31 December 2023 |
| Review | 6 | 30 September 2021 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0120 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Connexis - Infrastructure Industry Training Organisation qualifications@connexis.org.nz if you wish to suggest changes to the content of this unit standard.