| Title | Diagnose faults on electricity supply network equipment (System Operation) |  |  |
| --- | --- | --- | --- |
| Level | 5 | Credits | 11 |

| Purpose | People credited with this unit standard are able to: diagnose faults on electricity supply network equipment; restore power to electricity supply network equipment; and report outcomes of system restoration after fault investigation. |
| --- | --- |

| Classification | Electricity Supply > Electricity Supply - Power System Management |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

| Prerequisites | Unit 16284, Remove electricity supply network equipment from service for access for work (System Operation); and Unit 16279, Monitor electricity supply power network system; or demonstrate equivalent knowledge and skills. |
| --- | --- |

Guidance Information

1	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable legislative and industry requirements.

2	Legislation, regulations and/or industry standards relevant to this unit standard include but are not limited to the current version of the Health and Safety at Work Act 2015; Electricity Act 1992; Electricity (Safety) Regulations 2010; and any subsequent amendments and replacements; Electricity supply industry codes of practice and documented enterprise procedures, including Safety Manual – Electricity Industry (SM-EI) (2015) Wellington: Electricity Engineers’ Association, available at www.eea.co.nz.

3	Definitions

Asset owner refers to a participant who owns or operates assets used for generating or conveying electricity.

Industry requirements include all asset owner requirements; manufacturers’ specifications; and enterprise requirements which may include the documented workplace policies, procedures, specifications, business, and quality management requirements relevant to the workplace in which assessment is carried out.

The log – the collection of logbooks, log sheets, completed authorisation forms, and other records including electronic and tape, which together form a complete record of operating events in a station or operating area.

SCADA – Supervisory Control and Data Acquisition system used for control, indication, and monitoring purposes.

Outcomes and performance criteria

Outcome 1

Diagnose faults on electricity supply network equipment.

Performance criteria

1.1	Circuit faults are diagnosed to determine if fault conditions are present.

Range	may include but is not limited to – interpretation of circuit diagrams, trip and flagging relay signals, section of network out, equipment tripped, sign of damage, customer information, protection indication, circuit breaker trippings, line and/or cable test, SCADA data.

1.2	Fault conditions are responded to within response time required by asset owner.

Range	may include but is not limited to – network operation standard requirement contracts, standard procedures.

1.3	Fault indications from protection equipment are monitored and documented for maintenance purposes.

Range	may include but is not limited to – circuit breaker operations, drop-out fuses, protection relay flagging, or indications and fault locators, Transpower network protection indication.

1.4	SCADA system is used to monitor network equipment, control equipment, and recover operational data.

Outcome 2

Restore power to electricity supply network equipment.

Performance criteria

2.1	All relay flags are reset immediately after documenting the operations.

Range	may include but is not limited to – relay indications, SCADA event log.

2.2	Supply is restored, and network equipment is re-livened.

Range	may include but is not limited to – industry safety rules, network operating procedures.

2.3	Any difficulties experienced in restoring supply are identified and documented.

Range	may include but is not limited to – logbook entries.

Outcome 3

Report outcomes of system restoration after fault investigation.

Performance criteria

3.1	Restoration operating work carried out is reported to supervising officer within set timeframe.

Range	may include but is not limited to – brief details of what was found, repairs made, results of restoration, cause of tripping, number of customers and who affected.

3.2	Risk of further trips or faults are highlighted in report to asset owner.

Range	may include but is not limited to – risk of further occurrence, other vulnerable equipment, threat to continuity of supply.

3.3	Maintenance required on network equipment is highlighted in the report to the asset owner.

Range	may include but is not limited to – equipment defects, environment concerns, pollution impact on equipment.

| Planned review date | 31 December 2025 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 03 August 1999 | 31 December 2019 |
| Revision | 2 | 11 February 2004 | 31 December 2022 |
| Rollover and Revision | 3 | 26 November 2007 | 31 December 2022 |
| Review | 4 | 16 April 2010 | 31 December 2022 |
| Review | 5 | 23 April 2020 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0120 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Connexis – Infrastructure Industry Training Organisation qualifications@connexis.org.nz if you wish to suggest changes to the content of this unit standard.