| Title | Plan for scheduled work on electricity supply network equipment |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 10 |

| Purpose | People credited with this unit standard are able to: identify the detail of work requirements; prepare switching requirements; and notify affected scheduled work parties. |
| --- | --- |

| Classification | Electricity Supply > Electricity Supply - Power System Management |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable legislative and industry requirements.

2	Legislation, regulations and/or industry standards relevant to this unit standard include but are not limited to

- Health and Safety at Work Act 2015;

- Electricity Act 1992;

- Electricity (Safety) Regulations 2010;

- Electricity supply industry codes of practice and documented enterprise procedures, including Safety Manual – Electricity Industry (SM-EI) and relevant EEA guides available from www.eea.co.nz.

and any subsequent amendments and replacements.

3	Definitions

Asset owner refers to a participant who owns or operates assets used for generating or conveying electricity.

Industry requirements include all asset owner requirements and standards; manufacturers’ specifications; and enterprise requirements which cover the documented workplace policies, procedures, specifications, business, and quality management requirements relevant to the workplace in which assessment is carried out.

Switching instruction is a planned sequence of operating actions (or a single action) that has been compiled in an approved format.  It is sometimes referred to as an operating order or operating sequence.

Work management systems includes but is not limited to – access permits, test permits, minor work management systems.

Outcomes and performance criteria

Outcome 1

Identify the detail of work requirements.

Performance criteria

1.1	The scheduled work to be carried out is identified from asset owner’s requirements.

Range	may include but is not limited to – details on equipment type and identification, work details.

1.2	The scheduled work is coordinated within timeframes outlined in the asset owner’s requirements.

1.3	The requests to carry out work are documented, and the contractor’s competence checked.

Range	may include but is not limited to – work management systems, access permit, test permit, verification of competency.

1.4	Work resources and switching operations required to carry out the work on the network are identified.

Range	may include but is not limited to – equipment, tools, personnel, network controller, contractor.

1.5	The request for network equipment to be released is documented and approved.

Range	may include but is not limited to – type of work management system required, equipment to be worked on, safety measures required appropriate to work to be carried out.

Outcome 2

Prepare switching requirements.

Performance criteria

2.1	The nature of the equipment release request is clarified in consultation with others.

Range	may include but is not limited to – contractor, supervising officer, release coordinator, asset owner, project manager.

2.2	The switching instructions are coded and referenced.

2.3	Terminology and abbreviations are used in accordance with asset owner procedures.

2.4	The steps specified in the switching instructions are safe and logical as confirmed by industry procedures.

Outcome 3

Notify affected scheduled work parties.

Performance criteria

3.1	The switching instructions are prepared and distributed to contractor and other affected parties within the timeframe specified by the asset owner.

Range	may include but is not limited to – network controller, field operator, project manager, contractor, job organiser, recipient of work management system.

3.2	Retailers, consumers and service agencies affected by carrying out scheduled work are informed within scheduled timeframe and legislative requirements.

Range	may include but is not limited to – mail, letterbox drop, public notice, radio, social media, email.

| Planned review date | 31 December 2026 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 3 August 1999 | 31 December 2018 |
| Revision | 2 | 11 February 2004 | 31 December 2018 |
| Rollover and Revision | 3 | 26 November 2007 | 31 December 2018 |
| Review | 4 | 16 April 2010 | 31 December 2019 |
| Review | 5 | 16 March 2017 | 31 December 2023 |
| Review | 6 | 30 September 2021 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0120 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Connexis - Infrastructure Industry Training Organisation qualifications@connexis.org.nz if you wish to suggest changes to the content of this unit standard.