| Title | Fix battens for concrete or clay roof tiles |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 10 |

| Purpose | This unit standard is for people carrying out concrete roof tile installation and covers batten fixing in preparation for concrete and clay roof tile installation. People credited with this unit standard are able to: - calculate and establish the set out for concrete and clay roof tiles on a given roof; - load tile battens for concrete or clay roof tiles onto roof; - cut and fit battens for concrete or clay roof tiles; and - fix concrete or clay roof tile battens in accordance with manufacturers' instructions. |
| --- | --- |

| Classification | Plumbing, Gasfitting and Drainlaying > Roofing |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	This unit standard has been developed for learning and assessment on-job and off-job.

2	References

Construction Contracts Act 2002;

Historic Places Act 1993;

Local Government Act 2002;

Building Act 2004 and associated regulations;

Health and Safety at Work Act 2015;

Resource Management Act 1991;

Acceptable Solutions and Verification Methods for New Zealand Building Code Clause E2 External Moisture;

Licensed Building Practitioner Scheme – Understanding the Regulatory Environment Booklet – available at: http://www.business.govt.nz/lbp/the-board/getting-licensed/applying-for-licensing;

NZS 3604:2011 Timber-framed buildings;

NZS 3902:2004 Housing, alterations and small buildings contract;

NZS 4121:2001, Design for access and mobility: Buildings and associated facilities;

New Zealand Building Code Hand Book – available at: http://www.building.govt.nz/building-code-compliance/building-code-and-handbooks/building-code-handbook;

and all subsequent amendments and replacements.

3	This unit standard applies to both new roof and re-roofing installations.

4	Range

a	Candidates must refer to current legislation and Standards during assessment.

b	Demonstration of safe working practices are essential components of assessment of this unit standard.

c	All activities and evidence presented for all outcomes and performance criteria in this unit standard must be in accordance with:

i	legislation;

ii	policies and procedures;

iii	ethical codes;

iv	Standards – may include but are not limited to those cited in the New Zealand Building Code Hand Book;

v	applicable site, enterprise, and industry practice; and,

vi	manufacturers’ instructions, specifications, and data sheets.

Outcomes and performance criteria

Outcome 1

Calculate and establish the set out for concrete and clay roof tiles on a given roof.

Performance criteria

1.1	Perform set out calculations in accordance with manufacturer’s recommendations for the type of tile specified.

1.2	Establish set out on roof framing to ensure that the finished roof complies with NZS 4206:1992 and the tile manufacturer’s instructions.

Outcome 2

Load tile battens for concrete or clay roof tiles onto roof.

Performance criteria

2.1	Carry out batten stacking and loading to ensure that the building structure and the installed finishes are maintained in good condition.

2.2	Ensure that the layout of battens conforms to the requirements of NZS 4206:1992.

Outcome 3

Cut and fit battens for concrete or clay roof tiles.

Performance criteria

3.1	Cut and fit batten joints and terminations.

3.2	Remove surplus material.

Outcome 4

Fix concrete or clay roof tile battens in accordance with manufacturers' instructions.

Performance criteria

4.1	Fit underlay where required.

4.2	Fix battens.

4.3	Remove surplus material and leave roof and site in a tidy and safe condition that allows any further work to be carried out safely.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 24 April 1997 | 31 December 2020 |
| Review | 2 | 28 April 1997 | 31 December 2020 |
| Review | 3 | 27 October 2006 | 31 December 2020 |
| Rollover and Revision | 4 | 22 August 2008 | 31 December 2020 |
| Review | 5 | 16 March 2017 | 31 December 2027 |
| Rollover | 6 | 25 August 2022 | 31 December 2027 |
| Review | 7 | 28 November 2024 | 31 December 2027 |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.