| Title | Fix part concrete or clay roof tiles |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 10 |

| Purpose | This unit standard is for people carrying out concrete or clay roof work and covers the fixing of part roof tiles. People credited with this unit standard are able to: - measure, mark, and cut part tiles for roof terminations; - fix vermin proofing and part tiles to roof surface terminations; and - remove all tile debris from roof. |
| --- | --- |

| Classification | Plumbing, Gasfitting and Drainlaying > Roofing |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	This unit standard has been developed for learning and assessment on-job and off-job.

2	References

Construction Contracts Act 2002;

Historic Places Act 1993;

Local Government Act 2002;

Building Act 2004 and associated regulations;

Health and Safety at Work Act 2015;

Resource Management Act 1991;

Acceptable Solutions and Verification Methods for New Zealand Building Code Clause E2 External Moisture;

Licensed Building Practitioner Scheme – Understanding the Regulatory Environment Booklet – available at: http://www.business.govt.nz/lbp/the-board/getting-licensed/applying-for-licensing;

NZS 3604:2011 Timber-framed buildings;

NZS 3902:2004 Housing, alterations and small buildings contract;

NZS 4121:2001, Design for access and mobility: Buildings and associated facilities;

NZS 4206:1992, Concrete interlocking roofing tiles;

New Zealand Building Code Hand Book – available at: http://www.building.govt.nz/building-code-compliance/building-code-and-handbooks/building-code-handbook;

and all subsequent amendments and replacements.

3	This unit standard applies to both new roof and re-roofing installations.

4	Range

a	Candidates must refer to current legislation and Standards during assessment.

b	Demonstration of safe working practices are essential components of assessment of this unit standard.

c	All activities and evidence presented for all outcomes and performance criteria in this unit standard must be in accordance with:

i	legislation;

ii	policies and procedures;

iii	ethical codes;

iv	Standards – may include but are not limited to those cited in the New Zealand Building Code Hand Book;

v	applicable site, enterprise, and industry practice; and,

vi	manufacturers’ instructions, specifications, and data sheets.

Outcomes and performance criteria

Outcome 1

Measure, mark, and cut part tiles for roof terminations.

Performance criteria

1.1	Select and use hand and portable power tools to achieve specified results without damage to the material, injury to the operator, or danger to others.

1.2	Maintain tools in an effective and efficient condition.

1.3	Take measurements and establish lines for marking part tiles for cutting at roof surface terminations to ensure that the roof finish line is in accordance with job specifications.

1.4	Ensure that the condition of flashings or valley trays is preserved during in situ cutting.

Outcome 2

Fix vermin proofing and part tiles to roof surface terminations.

Performance criteria

2.1	Install vermin proofing to the requirements of NZS 4206:1992 before fixing roof terminations.

2.2	Ensure part tile fixing patterns are in accordance with the requirements of NZS 4206:1992.

2.3	Install fixings in accordance with NZS 4206:1992.

Outcome 3

Remove all tile debris from roof.

Performance criteria

3.1	Remove tiling debris from gutters, valleys, and roof surfaces.

3.2	Correct any defects.

3.3	Remove surplus material and leave roof and site in a tidy and safe condition that allows any further work to be carried out safely.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 24 April 1997 | 31 December 2020 |
| Review | 2 | 28 April 1997 | 31 December 2020 |
| Review | 3 | 27 October 2006 | 31 December 2020 |
| Rollover and Revision | 4 | 22 August 2008 | 31 December 2020 |
| Review | 5 | 16 March 2017 | 31 December 2027 |
| Rollover | 6 | 25 August 2022 | 31 December 2027 |
| Review | 7 | 28 November 2024 | 31 December 2027 |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.