| Title | Manage ventilation operations to assist fire and rescue operations |  |  |
| --- | --- | --- | --- |
| Level | 5 | Credits | 6 |

| Purpose | People credited with this unit standard are able to: demonstrate knowledge of effective use of ventilation and its relationship to building construction type; and manage ventilation operations at an emergency incident. |
| --- | --- |

| Classification | Fire and Rescue Services > Fire and Rescue Services - Structural and Industrial |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

| Prerequisites | Unit 20394, Apply basic ventilation techniques to assist fire and rescue operations, or demonstrate equivalent knowledge or skills. |
| --- | --- |

Guidance Information

1	Compliance with the fire and rescue service provider’s Health and Safety policy and procedures is mandatory.

2	Assessment against this unit standard may take place under real or practical simulated conditions.

3	Definition

Fire and rescue service provider’s requirements refer to policies and procedures on safety and operation set down by each fire and rescue service employer or host organisation.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of effective use of ventilation and its relationship to building construction type.

Performance criteria

1.1	The benefits to fire and rescue operations associated with ventilation are explained in accordance with the fire and rescue service provider’s requirements.

1.2	The hazards associated when applying ventilation are explained in accordance with the fire and rescue service provider’s requirements.

1.3	Tactical options that use forced ventilation are explained in accordance with the fire and rescue service provider’s requirements.

1.4	Methods of ventilation that are used to reduce smoke, fumes, and heat from compartments and/or structures are explained in accordance with the fire and rescue service provider’s requirements.

Range	a minimum of three of – single storey dwellings, multi-storey buildings, large open span complexes, basements, tunnels, pits.

1.5	In-built systems and components that provide protection to compartments and exit paths are explained in accordance with the fire and rescue service provider’s requirements.

Range	a minimum of three of – smoke stop systems, pressurisation systems, ventilation systems, fire damper systems.

Outcome 2

Manage ventilation operations at an emergency incident.

Performance criteria

2.1	Ventilation methods are selected to assist fire and rescue operations in accordance with the fire and rescue service provider’s requirements.

2.2	Structures are ventilated in accordance with the fire and rescue service provider’s requirements.

Range	a minimum of three of the following structures – single storey dwellings, multi-storey buildings, large open span complexes, basements, tunnels, pits.

2.3	The performance and safety of ventilation crews is managed in accordance with the fire and rescue service provider’s requirements.

2.4	The ongoing conditions involving the development of smoke, fumes, and heat and their effect on ventilation operations are managed in accordance with the fire and rescue service provider’s requirements.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 22 December 1999 | 31 December 2025 |
| Review | 2 | 25 March 2004 | 31 December 2025 |
| Review | 3 | 20 November 2009 | 31 December 2025 |
| Review | 4 | 30 September 2021 | 31 December 2025 |

| Consent and Moderation Requirements (CMR) reference | 0039 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.