| Title | Rescue a victim from an electrical structure |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 2 |

| Purpose | People credited with this unit standard are able to rescue a victim from an electrical structure. |
| --- | --- |

| Classification | Electricity Supply > Electricity Supply - Core Skills |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

| Prerequisites | Unit 10509, Climb and work on electricity network structures; Unit 6401 Provide first aid; Unit 6402 Provide basic life support; or demonstrate equivalent knowledge and skills. |
| --- | --- |

Guidance Information

1	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable industry and legislative requirements.

2	Legislation, regulations and/or industry standards relevant to this unit standard include but are not limited to the current version of the Health and Safety at Work Act 2015; and any subsequent amendments and replacements; Electricity Act 1992; Electricity (Safety) Regulations 2010; Electricity supply industry codes of practice and documented enterprise procedures, including Safety Manual – Electricity Industry (SM-EI) (2015) Wellington: Electricity Engineers’ available from Association, www.eea.co.nz.

3	Definitions

Asset owner refers to a participant who owns or operates assets used for generating or conveying electricity.

Industry requirements include all asset owner requirements; manufacturers’ specifications; and enterprise requirements which cover the documented workplace policies, procedures, specifications, business, and quality management requirements relevant to the workplace in which assessment is carried out.

Electrical structures include poles, towers, and any support for electric lines above ground level.

Outcomes and performance criteria

Outcome 1

Rescue a victim from an electrical structure.

Range	evidence of three rescues is required.

Performance criteria

1.1	Structure is inspected, and a safe climbing route is planned.

1.2	Requirements for assistance are determined in terms of equipment and personnel.

1.3	Structure is climbed using a planned route.

1.4	Condition of victim is determined.

1.5	Victim is lowered.

1.6	Basic life support and first aid are administered.

1.7	Appropriate statutory bodies are advised of incident.

1.8	Incident information is recorded in the required format and within required timeframes.

| Planned review date | 31 December 2024 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 23 November 1999 | 31 December 2016 |
| Review | 2 | 22 October 2003 | 31 December 2016 |
| Rollover and Revision | 3 | 20 June 2008 | 31 December 2016 |
| Review | 4 | 20 March 2014 | 31 December 2021 |
| Review | 5 | 28 November 2019 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0120 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Connexis - Infrastructure Industry Training Organisation at qualifications@connexis.org.nz if you wish to suggest changes to the content of this unit standard.