| Title | Demonstrate knowledge of, and test for, water quality in a seafood live holding facility |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 10 |

| Purpose | This unit standard is for people working in a seafood operation. People credited with this unit standard are able to: demonstrate knowledge of water quality requirements for a seafood live holding facility; carry out water testing procedures; and interpret, and describe the action to take on, water test results. |
| --- | --- |

| Classification | Seafood > Aquaculture |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	All evidence presented in this unit standard must be in accordance with:

- Workplace procedures;

- Animal Products Act 1999;

- Food Act 2014;

- Health and Safety at Work Act 2015;

- Resource Management Act 1991;

and any subsequent amendments.

2	Definitions

Seafood includes any species of – fish, echinoderm, crustacean, or shellfish.

Workplace procedures refer to the policies and procedures set out in a verbal or written form by the employer or organisation.  Procedures must reflect current legislative requirements.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of water quality requirements for a seafood live holding facility.

Range	dissolved oxygen, temperature, pH;

at least two of – carbon dioxide, ammonia, nitrate, nitrite, phosphate, total dissolved gases, turbidity, salinity, hydrogen sulphide, alkalinity.

Performance criteria

1.1	Describe factors that contribute to water quality and their requirements for optimum live holding of the species.

1.2	Describe the impact on the species when water quality factors are less than optimum.

1.3	Describe remedial actions to return water quality to optimum conditions after a loss of water quality.

1.4	Describe the quality limits for effluent or water discharge.

Outcome 2

Carry out water testing procedures for seafood live holding.

Range	may include but is not limited to testing for – dissolved oxygen, temperature, pH, carbon dioxide, ammonia, nitrate, nitrite, phosphate, total dissolved gases, turbidity, salinity, hydrogen sulphide, alkalinity;

evidence of three is required, with at least one chemical test and one meter test.

Performance criteria

2.1	Calibrate water testing equipment prior to use.

2.2	Carry out water testing procedures.

2.3	Document water test results.

Outcome 3

Interpret, and describe the action to take on, water test results for seafood live holding.

Range	may include but is not limited to testing for – dissolved oxygen, temperature, pH, carbon dioxide, ammonia, nitrate, nitrite, phosphate, total dissolved gases, turbidity, salinity, hydrogen sulphide, alkalinity;

evidence of three is required.

Performance criteria

3.1	Interpret test results to determine if any action is required.

3.2	Describe the action to take when test results are outside of the required limits for optimum seafood live holding.

| Planned review date | 31 December 2028 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 28 January 2000 | 31 December 2019 |
| Review | 2 | 25 February 2003 | 31 December 2019 |
| Review | 3 | 12 December 2008 | 31 December 2019 |
| Review | 4 | 1 November 2018 | N/A |
| Rollover | 5 | 29 February 2024 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0123 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Muka Tangata - People, Food and Fibre Workforce Development Council qualifications@mukatangata.nz  if you wish to suggest changes to the content of this unit standard.