| Title | Conduct routine maintenance of special hazards fixed fire protection systems |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 5 |

| Purpose | This unit standard is for personnel employed in the fire protection industry and covers routine maintenance of special hazards fixed fire protection systems. People credited with this unit standard are able to: prepare for routine maintenance of special hazards fixed fire protection systems; conduct routine maintenance of special hazards fixed fire protection systems; complete documentation for reporting after routine maintenance of special hazards fixed fire protection systems. |
| --- | --- |

| Classification | Mechanical Engineering > Fixed Fire Protection Systems |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Legislation, regulations and/or industry standards relevant to this unit standard include but are not limited to the:

Building Act 2004,

Building (Forms) Regulations 2004,

Ministry of Business, Innovation and Employment (MBIE) Acceptable Solutions (AS) and Verification Methods (VM),

MBIE New Zealand Building Code Handbook,

AS 1851:2012, Routine service of fire protection systems and equipment,

AS 4214:2018, Gaseous fire extinguishing systems,

AS 4587:2020, Water mist fire protection systems - System design, installation, and commissioning,

National Fire Protection Association, NFPA 15:2022, Water spray fixed systems for fire protection,

NFPA 16:2019, Installation of foam-water sprinkler and foam-water spray systems,

NFPA 17:2024, Dry chemical extinguishing systems,

NFPA 17A:2021, Wet chemical extinguishing systems,

NFPA 750:2023, Water mist fire protection systems,

NFPA 2001:2022, Clean agent fire extinguishing systems.

Any new, amended or replacement Acts, regulations, standards, codes of practice, guidelines, or authority requirements or conditions affecting this unit standard will take precedence for assessment purposes, pending review of this unit standard.

2	Definitions

Fixed fire protection system refers to engineered sets of components that work together to detect fires, alert occupants, and extinguish fires, and may include fixed or automatic systems, such as those described by the standards listed in the references, used for controlling or putting out fires.

Maintenance refers to the carrying out of preventive maintenance and repairs at specific intervals necessary to assure the continuing reliability of fire safety systems and equipment in accordance with relevant standards.

Plan in this unit standard means the procedures developed to enable the work to be carried out in a logical and safe manner.

Special hazards fixed fire protection systems refer to systems designed and installed to AS 4214:2018, AS 4587:2020, NFPA 15:2022, NFPA 16:2019, NFPA 17:2024, NFPA 17A:2021, NFPA 750:2023, or NFPA 2001:2022 standards.  They may include but are not limited to: inert gas; dry chemical; wet chemical; foam, foam-water, water mist; and explosion suppression types of systems.

Standards refer to AS 4214:2018, AS 4587:2020, NFPA 15:2022, NFPA 16:2019, NFPA 17:2024, NFPA 17A:2021, NFPA 750:2023, and NFPA 2001:2022.

Systems documentation refers to the documentation required to be maintained by the relevant special hazards fixed fire protection system standards, including logbook, test reports, equipment details and drawings, specifications, contract agreement, additions and alterations, fire reports, building consents standards, codes of practice, installation instructions, test and commissioning procedures, test and maintenance records.

Workplace procedures refer to the documented procedures used by the organisation carrying out the work and applicable to the tasks being carried out.  They may include but are not limited to – standard operating procedures, site safety procedures, equipment operating procedures, codes of practice, quality assurance procedures, housekeeping standards, charging of time and materials, management of drawings and documentation, procedures to comply with legislative and local body requirements.

3	Assessment information

- All activities must comply with relevant legislative and/or regulatory requirements and recognised codes of practice.

- All activities must demonstrate safe working practices.

- All activities must be completed and reported within agreed timeframes.

- All activities must be done in accordance with applicable relevant standards, systems documentation, plans and workplace procedures.

4	Range

For assessment purposes, competence must be demonstrated on at least three systems.

5	Recommended skills and knowledge

Unit 17729, Demonstrate knowledge of maintenance, testing, inspections, and surveys of special hazards fixed fire protection systems, or demonstrate equivalent knowledge and skills.

Outcomes and performance criteria

Outcome 1

Prepare for routine maintenance of special hazards fixed fire protection systems.

Performance criteria

1.1	The systems for routine maintenance are described.

1.2	Routine maintenance procedures for the systems are identified.

Range	weekly, monthly, quarterly, four-yearly.

1.3	Safety requirements for the systems are identified and referenced to the systems documentation.

1.4	Plans for routine maintenance of the systems are prepared.

Outcome 2

Conduct routine maintenance of special hazards fixed fire protection systems.

Performance criteria

2.1	Routine maintenance is conducted and results recorded.

2.2	Non-conformances are identified, recorded, and reported.

2.3	Improvements to the systems are identified and recorded for inclusion into reports.

2.4	Safety requirements are complied with during the routine maintenance process.

2.5	Systems are restored to normal operating condition.

2.6	Premises are cleared of all surplus introduced materials and equipment and left in a clean and tidy condition.

Outcome 3

Complete documentation for reporting after routine maintenance of special hazards fixed fire protection systems.

Performance criteria

3.1	Systems faults and improvements are identified and recorded.

3.2	Documentation for routine maintenance are completed, and distributed.

3.3	Personnel at site are notified of completion of tests.

| Planned review date | 31 December 2029 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 31 December 2000 | 31 December 2017 |
| Review | 2 | 26 March 2007 | 31 December 2017 |
| Review | 3 | 15 October 2015 | 31 December 2026 |
| Review | 4 | 27 June 2024 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0013 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact the Hanga-Aro-Rau Manufacturing, Engineering and Logistics Workforce Development Council qualifications@hangaarorau.nz if you wish to suggest changes to the content of this unit standard.