| Title | Conduct routine inspections of fire sprinkler systems |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 20 |

| Purpose | This unit standard is for personnel employed in the fire protection industry and covers the routine inspections of fire sprinkler systems. People credited with this unit standard are able to: prepare for routine inspections of fire sprinkler systems; conduct routine inspections of fire sprinkler systems, and thereafter reinstate the systems to operational status; complete documentation for reporting after routine inspections of fire sprinkler systems. |
| --- | --- |

| Classification | Mechanical Engineering > Fixed Fire Protection Systems |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Legislation, regulations and/or industry standards relevant to this unit standard include but are not limited to the:

Building Act 2004,

Building (Forms) Regulations 2004,

Ministry of Business, Innovation and Employment (MBIE) Acceptable Solutions (AS) and Verification Methods (VM),

MBIE New Zealand Building Code Handbook,

NZS 4541:2020, Automatic fire sprinkler systems.

Any new, amended or replacement Acts, regulations, standards, codes of practice, guidelines, or authority requirements or conditions affecting this unit standard will take precedence for assessment purposes, pending review of this unit standard.

2	Definitions

Inspection refers to an organised examination of characteristics of fire protection systems against established standards.

Plan in this unit standard means the procedures developed to enable the work to be carried out in a logical and safe manner.

Systems documentation refers to the documentation required to be maintained by NZS 4541:2020, including: logbook, test reports, equipment details and drawings, specifications, contract agreement, additions and alterations, fire reports, building consents standards, codes of practice, installation instructions, test and commissioning procedures, and test and maintenance records.

Workplace procedures refer to the documented procedures used by the organisation carrying out the work and applicable to the tasks being carried out.  They may include but are not limited to – standard operating procedures, site safety procedures, equipment operating procedures, codes of practice, quality assurance procedures, housekeeping standards, charging of time and materials, management of drawings and documentation, procedures to comply with legislative and local body requirements.

3	Assessment information

a	All activities must comply with relevant legislative and/or regulatory requirements and recognised codes of practice.

b	All activities must demonstrate safe working practices.

c	All activities must be completed and reported within agreed timeframes.

d	All activities must be done in accordance with applicable aspects of NZS 4541:2020 and applicable systems documentation, plans, and workplace procedures.

4	Range

For assessment purposes, competence must be demonstrated on at least three systems.

5	Recommended skills and knowledge

Unit 17730, Demonstrate knowledge of routine testing and maintenance of fire sprinkler systems, or demonstrate equivalent knowledge and skills.

Outcomes and performance criteria

Outcome 1

Prepare for routine inspections of fire sprinkler systems.

Performance criteria

1.1	Routine inspection procedures for the systems are identified.

1.2	Safety requirements for the systems to be routinely inspected are identified and referenced to systems documentation.

1.3	Plans for routine inspections of the systems are prepared.

Outcome 2

Conduct routine inspections of fire sprinkler systems, and thereafter reinstate the systems to operational status.

Performance criteria

2.1	Routine inspections are conducted.

2.2	Safety requirements are complied with during routine inspections.

2.3	Systems are restored to normal operating condition.

2.4	Premises are cleared of all surplus introduced materials and equipment and left in a clean and tidy condition.

Outcome 3

Complete documentation for reporting after routine inspections of fire sprinkler systems.

Performance criteria

3.1	Documentation for routine inspections is completed and distributed.

3.2	All matters that require remedial action are listed in the reports that form part of the documentation.

3.3	Personnel at site are notified of completion of work.

| Planned review date | 31 December 2029 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 31 December 2000 | 31 December 2017 |
| Review | 2 | 26 March 2007 | 31 December 2017 |
| Revision | 3 | 23 April 2008 | 31 December 2017 |
| Review | 4 | 15 October 2015 | 31 December 2026 |
| Review | 5 | 27 June 2024 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0013 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact the Hanga-Aro-Rau Manufacturing, Engineering and Logistics Workforce Development Council qualifications@hangaarorau.nz if you wish to suggest changes to the content of this unit standard.