| Title | Demonstrate knowledge of electrical control devices and simple electrical circuits |
| --- | --- |
| Level | 3 | Credits | 3 |

| Purpose | This unit standard is for use in the training of electrical technicians and service persons. It covers basic control devices, and the construction and testing of specified simple electrical circuits. People credited with this unit standard are able to: describe simple appliance control devices; and construct and test simple electrical circuits. |
| --- | --- |

| Classification | Electrical Engineering > Electrical Service Technicians |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	This unit standard has been developed for learning and assessment off-job.

2	Competency under this unit standard does not entitle the candidate to legally perform prescribed electrical work without adequate supervision until the candidate has been registered and licensed under the Electricity Act 1992.

3	References

Electricity (Safety) Regulations 2010;

Electricity Act 1992;

Health and Safety at Work Act 2015, and associated regulations;

New Zealand Electrical Codes of Practice available at https://www.worksafe.govt.nz/laws-and-regulations/standards/electricity-standards-and-codes-of-practice/;

and all subsequent amendments and replacements.

4	Definitions

Current regulations and standards – refers to the requirements of the above legislation and standards, applied to the context in which the term is used.

Electrical technicians and service persons – for the purposes of this unit standard means, people who hold or who are working towards electrical registration as an Electrical Service Technician, Electrical Appliance Serviceperson (endorsed to disconnect and connect), or Electrical Appliance Serviceperson.

Industry practice – those practices which competent practitioners within the industry recognise as current industry best practice.

Outcomes and performance criteria

Outcome 1

Describe simple appliance control devices.

Range	energy regulator (simmerstat), three-heat switch, thermostat, pressure switch, limit switch, time switch, thermal switches.

Performance criteria

1.1	The principle of operation of each device is described in accordance with industry practice.

1.2	Two applications are stated for each device in accordance with industry practice.

Outcome 2

Construct and test simple electrical circuits.

Range	circuits – one-way and two-way lamp switching circuits employing Edison screw and bayonet cap lamp fittings, three-heat switching circuit, energy regulator (simmerstat), fluorescent light fitting, double-pole switching circuits, replacement of a three-heat switch with an energy regulator (simmerstat).  Candidates may be supplied with circuit diagrams.

Performance criteria

2.1	Components are assembled and wired in accordance with current regulations and standards, and industry practice.

2.2	Circuits are tested for safety in accordance with current regulations and standards.

2.3	Operation of circuits is verified according to industry practice.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 25 November 2000 | 31 December 2013 |
| Revision | 2 | 3 April 2001 | 31 December 2013 |
| Revision | 3 | 19 May 2004 | 31 December 2013 |
| Review | 4 | 20 June 2006 | 31 December 2024 |
| Rollover and Revision | 5 | 20 September 2012 | 31 December 2024 |
| Revision | 6 | 15 January 2014 | 31 December 2024 |
| Rollover and Revision | 7 | 25 March 2021 | 31 December 2024 |
| Review | 8 | 2 March 2023 | 31 December 2024 |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.