| Title | Describe quality sampling techniques and programme design for a water treatment site |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 5 |

| Purpose | People credited with this unit standard are able to: describe sampling theory as it relates to water treatment; demonstrate knowledge of the water treatment process procedures for sampling and reporting; and describe sampling programme design for a water treatment site. |
| --- | --- |

| Classification | Water Industry > Water Treatment |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

- Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable legislative and industry requirements.

- Legislation and references relevant to this unit standard include:

Water Services Act 2021, Health and Safety at Work Act 2015, Hazardous Substances and New Organisms (HSNO) Act 1996, and subsequent amendments;

Ministry of Health, Drinking-water Standards for New Zealand, Ministry of Health, Wellington, 2005 (Revised 2018), and subsequent replacements, available at www.taumataarowai.govt.nz.

3	Definition

Industry requirements include manufacturers’ specifications; and enterprise requirements which may include documented workplace policies, procedures, specifications, business, and quality management requirements relevant to the workplace in which assessment is carried out.

4	Learning and assessment activities for this unit standard must be informed by Te Mana o te Wai (refer to Taumata Arowai) and the National Policy Statement for Freshwater Management 2020 available from https://environment.govt.nz/.

Outcomes and performance criteria

Outcome 1

Describe sampling theory as it relates to water treatment.

Performance criteria

1.1	Water quality measurement is described in terms of representative sampling.

Range	daily variation, flow variation, mass curves, sampling other than by time, source (rivers, lakes, reservoirs, bores, distribution systems), surface and depth sampling, water tap sampling, representative sampling.

1.2	The confidence level of water quality measurement is described in terms of different sampling frequencies and cost implications.

1.3	Standard units of measurement are described in terms of their use in water treatment.

Outcome 2

Demonstrate knowledge of the water treatment process procedures for sampling and reporting.

Performance criteria

2.1	The regulatory procedures for sampling are identified and described in accordance with the Drinking-Water Standards for New Zealand.

2.2	The sampling procedures for process control and monitoring are identified.

Range	includes but is not limited to – chemical dose control, residual measurements, calibration checks.

2.3	Reporting procedures are described.

Outcome 3

Describe sampling programme design for a water treatment site.

Performance criteria

3.1	The design of the sampling programme is described in accordance with the procedures of the Drinking-Water Standards for New Zealand.

3.2	The design of the sampling programme is described in terms of the particular treatment process needs.

Range	includes but is not limited to – chemical dose control, residual measurements, calibration checks.

3.3	The design of the sampling programme is described in terms of methods to optimise the practicality of sample collection.

| Planned review date | 31 December 2027 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 1 February 2001 | 31 December 2018 |
| Review | 2 | 19 September 2008 | 31 December 2018 |
| Review | 3 | 16 March 2017 | 31 December 2024 |
| Review | 4 | 26 May 2022 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0101 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@WaihangaAraRau.nz if you wish to suggest changes to the content of this unit standard.