| Title | Demonstrate knowledge of stringing, tensioning, and terminating transmission network conductors |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 10 |

| Purpose | People credited with this unit standard are able to: demonstrate knowledge of the preparation of line stringing equipment for installing transmission conductors; describe stringing of transmission network conductors; and describe tensioning and terminations of transmission network conductors. |
| --- | --- |

| Classification | Electricity Supply > Electricity Supply - Transmission Networks |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable legislative and industry requirements.

2	Legislation, regulations and/or industry standards relevant to this unit standard include but are not limited to the current version of the Health and Safety at Work Act 2015; Electricity Act 1992; Electricity (Safety) Regulations 2010; and any subsequent amendments and replacements; Electricity supply industry codes of practice and documented enterprise procedures, including Safety Manual – Electricity Industry (SM-EI) (2015) available at www.eea.co.nz.

3	Definitions

Asset owner refers to a participant who owns or operates assets used for generating or conveying electricity.

Industry requirements include all asset owner requirements; manufacturers’ specifications; and enterprise requirements which may include the documented workplace policies, procedures, specifications, and business and quality management requirements relevant to the workplace in which assessment is carried out.

4	Overhead conductors over 50kV are defined as transmission conductors.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of the preparation of transmission line stringing equipment for installing transmission conductors.

Performance criteria

1.1	The purpose, function, and limitations of lines stringing equipment are described.

1.2	Conductor requirement is established.

Range	may include but is not limited to – size, type, configuration.

1.3	Structure arrangements are described.

1.4	Installation work plan and method are described.

Range	equipment location, protection of equipment, pull length, rigging set-up, structure access, earthing set-up.

1.5	Conductor sag and tension are described.

Range	calculation, sag chart, tension.

Outcome 2

Describe stringing of transmission network conductors.

Performance criteria

2.1	Running blocks installation is described.

2.2	Conductors’ use without damage is described.

2.3	Conductors’ run-out requirements are described.

Range	electrical protection, mechanical protection, manufacturer’s specifications.

Outcome 3

Describe tensioning and terminations of transmission network conductors.

Performance criteria

3.1	Conductor tensioning methods to control sagging are described.

3.2	Conductors jointing and terminations are described.

Range	may include but is not limited to – compression, preform, swaged, implosive.

| Planned review date | 31 December 2025 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 27 April 2001 | 31 December 2018 |
| Revision | 2 | 10 September 2004 | 31 December 2018 |
| Review | 3 | 23 April 2008 | 31 December 2018 |
| Review | 4 | 20 August 2015 | 31 December 2022 |
| Review | 5 | 25 March 2021 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0120 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Connexis - Infrastructure Industry Training Organisation qualifications@connexis.org.nz if you wish to suggest changes to the content of this unit standard.