| Title | Demonstrate knowledge of conductors, insulators and resistance in the electricity supply industry |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 5 |

| Purpose | People credited with this unit standard are able to demonstrate knowledge of: electrical conductors and insulators, and electrical resistance. |
| --- | --- |

| Classification | Electricity Supply > Electricity Supply - Core Skills |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable legislative and industry requirements.

2	Legislation, regulations and/or industry standards relevant to this unit standard include but are not limited to:

- Health and Safety at Work Act 2015

- Electricity Act 1992

- Electricity (Safety) Regulations 2010

- Electricity supply industry codes of practice and documented enterprise procedures, including Safety Manual – Electricity Industry (SM-EI) and relevant EEA guides available from www.eea.co.nz

and any subsequent amendments and replacements.

3	Definitions

Asset owner refers to a participant who owns or operates assets used for generating or conveying electricity.

Industry requirements include all asset owner requirements; manufacturers’ specifications; and enterprise requirements which cover the documented workplace policies, procedures, specifications, business, and quality management requirements relevant to the workplace in which assessment is carried out.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of electrical conductors and insulators.

Performance criteria

1.1	Materials commonly used for conductors and insulators are identified, and their orders of resistance stated.

Range	evidence of three conductor and two insulator materials is required.

1.2	Typical uses of conductors and insulators are stated.

Range	three conductors, three insulators.

1.3	Conductor and insulator materials suitable for given environmental conditions are identified, and reasons for their suitability are stated.

Range	evidence of one conductor and one insulator material for three environmental conditions is required.

Outcome 2

Demonstrate knowledge of electrical resistance.

Performance criteria

2.1	Resistance is described in terms of opposition to current flow.

2.2	The unit for resistance is stated, and the symbol drawn.

2.3	Ohm's Law is defined.

2.4	The relationship between resistance, voltage, and current is described in terms of the effect that a change in any quantity has on the other two.

| Planned review date | 31 December 2027 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 27 April 2001 | 31 December 2016 |
| Revision | 2 | 10 September 2004 | 31 December 2016 |
| Rollover and Revision | 3 | 20 June 2008 | 31 December 2016 |
| Review | 4 | 19 November 2010 | 31 December 2016 |
| Review | 5 | 20 March 2014 | 31 December 2021 |
| Review | 6 | 28 November 2019 | 31 December 2024 |
| Review | 7 | 2 March 2023 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0120 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@WaihangaAraRau.nz if you wish to suggest changes to the content of this unit standard.