| Title | Describe the major sectors in the New Zealand electricity supply industry and the relationships between them |  |  |
| --- | --- | --- | --- |
| Level | 2 | Credits | 3 |

| Purpose | People credited with this unit standard are able to describe the major sectors in the New Zealand electricity supply industry and the relationships between them. |
| --- | --- |

| Classification | Electricity Supply > Electricity Supply - Core Skills |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable legislative and industry requirements.

2	Legislation, regulations and/or industry standards relevant to this unit standard include but are not limited to

- Health and Safety at Work Act 2015;

- Electricity Act 1992;

- Electricity (Safety) Regulations 2010;

- Electricity supply industry codes of practice and documented enterprise procedures, including Safety Manual – Electricity Industry (SM-EI) and relevant EEA guides, available from www.eea.co.nz.

and any subsequent amendments and replacements.

3	Definitions

Asset owner refers to a participant who owns or operates assets used for generating or conveying electricity.

Industry requirements include all asset owner requirements and standards; manufacturers’ specifications; and enterprise requirements which cover the documented workplace policies, procedures, specifications, business, and quality management requirements relevant to the workplace in which assessment is carried out.

Outcomes and performance criteria

Outcome 1

Describe the major sectors in the New Zealand electricity supply industry and the relationships between them.

Performance criteria

1.1	Electricity generation is described in terms of purpose, types of generation, fuel sources, and job roles.

1.2	Electricity transmission is described in terms of purpose, national grid, high voltage direct current (HVDC) link, and job roles.

1.3	Electricity distribution is described in terms of purpose, networks, substations and job roles.

1.4	Electricity retailing is described in terms of purpose, customer services, metering and job roles.

1.5	The New Zealand electricity market is described in terms of its operation.

1.6	The relationships between the key industry sectors are described in terms of generation, transmission, distribution, retailing, and the electricity market.

| Planned review date | 31 December 2026 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 27 April 2001 | 31 December 2016 |
| Review | 2 | 22 October 2003 | 31 December 2016 |
| Review | 3 | 15 August 2013 | 31 December 2021 |
| Review | 4 | 28 November 2019 | 31 December 2023 |
| Review | 5 | 30 September 2021 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0120 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

- Comments on this unit standard

Please contact the Connexis - Infrastructure Industry Training Organisation qualifications@connexis.org.nz if you wish to suggest changes to the content of this unit standard.