	NZQA unit standard
	18432 version 5

	
	Page 1 of 2



	Title
	Fabricate and install pipe-work for fire sprinkler systems on site

	Level
	3
	Credits
	20


	Purpose
	This unit standard is for the personnel employed in the fire protection industry and covers the fabrication and installation of pipe-work for fire sprinkler systems on site.

People credited with this unit standard are able to: plan and prepare for pipe-work fabrication and installation for fire sprinkler systems on site; and fabricate and install pipe-work for fire sprinkler systems on site.


	Classification
	Mechanical Engineering > Fixed Fire Protection Systems


	Available grade
	Achieved


Guidance Information
1
Legislation, regulations and/or industry standards relevant to this unit standard include but are not limited to the:


Building Act 2004,
Building (Forms) Regulations 2004,

Ministry of Business, Innovation and Employment (MBIE) Acceptable Solutions (AS) and Verification Methods (VM),

MBIE New Zealand Building Code Handbook,
NZS 4515:2009, Fire sprinkler systems for residential occupancies,
NZS 4541:2020, Automatic fire sprinkler systems.
Any new, amended or replacement Acts, regulations, standards, codes of practice, guidelines, or authority requirements or conditions affecting this unit standard will take precedence for assessment purposes, pending review of this unit standard.

2
Definitions


Systems documentation refers to the documentation required to be maintained by NZS 4541:2020, including logbook, test reports, equipment details and drawings, specifications, contract agreement, additions and alterations, fire reports, building consents standards, codes of practice, installation instructions, test and commissioning procedures, and test and maintenance records.
Workplace procedures refer to the documented procedures used by the organisation carrying out the work and applicable to the tasks being carried out.  They may include but are not limited to – standard operating procedures, site safety procedures, equipment operating procedures, codes of practice, quality assurance procedures, housekeeping standards, charging of time and materials, management of drawings and documentation, procedures to comply with legislative and local body requirements.
3
Assessment information 
a. All activities must comply with relevant legislative and/or regulatory requirements and recognised codes of practice.

b. All activities must demonstrate safe working practices.

c. All activities must be completed and reported within agreed timeframes.

d. All activities must be done in accordance with applicable customer requirements, systems documentation, plans and workplace procedures.
4
Range

For assessment purposes, competence must be demonstrated on at least four systems and may include steel and plastic pipes.

Outcomes and performance criteria
Outcome 1

Plan and prepare for pipe-work fabrication and installation for fire sprinkler systems on site.

Performance criteria

1.1
Pipe-work fabrication and installation requirements are identified.
1.2
Fabrication and installation requirements are checked against the physical site requirements.
Range
may include but is not limited to – access, site measurement, structural details, working at heights, other services.

1.3
Plans for fabrication and installation of pipes are prepared.
1.4
Fabrication equipment is prepared and set up.
Range
may include but is not limited to – pipe threading machine, roll groove machine, pipe cutting equipment, hole saw machines.

1.5
Pipes and pipe fittings are purchased or drawn from stock, and delivery to the sites is confirmed.
Outcome 2

Fabricate and install pipe-work for fire sprinkler systems on site.

Performance criteria

2.1
Safety requirements are complied with during fabrication and installation of pipe-work.
2.2
Pipes are cut and prepared.
Range
may include but is not limited to – pipe threading machine, roll groove machine, pipe cutting equipment, hole saw machines.

2.3
Pipes are installed.
2.4
Premises are cleared of all surpluses introduced materials and equipment and left in a clean and tidy condition.
2.5
Work documentation is completed.
	Planned review date
	31 December 2029


Status information and last date for assessment for superseded versions

	Process
	Version
	Date
	Last Date for Assessment

	Registration
	1
	25 May 2001
	31 December 2017

	Review
	2
	26 March 2007
	31 December 2017

	Revision
	3
	23 April 2008
	31 December 2017

	Review
	4
	15 October 2015
	31 December 2026 

	Review
	5
	27 June 2024
	N/A


	Consent and Moderation Requirements (CMR) reference
	0013


This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact the Hanga-Aro-Rau Manufacturing, Engineering and Logistics Workforce Development Council qualifications@hangaarorau.nz if you wish to suggest changes to the content of this unit standard.
	Hanga-Aro-Rau Manufacturing, Engineering and Logistics Workforce Development Council
SSB Code 6049
	SYMBOL 211 \f "Symbol" New Zealand Qualifications Authority 2024



