| Title | Install special hazards fixed fire protection systems |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 20 |

| Purpose | This unit standard is for personnel employed in the fire protection industry and covers the installation of special hazards fixed fire protection systems. People credited with this unit standard are able to: plan and prepare for installation of special hazards fixed fire protection systems; receive, prepare, and install components for special hazards fixed fire protection systems; test installations and complete records for special hazards fixed fire protection systems. |
| --- | --- |

| Classification | Mechanical Engineering > Fixed Fire Protection Systems |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Legislation, regulations and/or industry standards relevant to this unit standard include but are not limited to the:

Building Act 2004,

Building (Forms) Regulations 2004,

Ministry of Business, Innovation and Employment (MBIE) Acceptable Solutions (AS) and Verification Methods (VM),

MBIE New Zealand Building Code Handbook,

AS 4214:2018, Gaseous fire extinguishing systems,

AS 4587:2020, Water mist fire protection systems - System design, installation, and commissioning,

National Fire Protection Association, NFPA 15:2022, Water spray fixed systems for fire protection,

NFPA 16:2019, Installation of foam-water sprinkler and foam-water spray systems,

NFPA 17:2024, Dry chemical extinguishing systems,

NFPA 17A:2021, Wet chemical extinguishing systems,

NFPA 750:2023, Water mist fire protection systems,

NFPA 2001:2022, Clean agent fire extinguishing systems.

Any new, amended or replacement Acts, regulations, standards, codes of practice, guidelines, or authority requirements or conditions affecting this unit standard will take precedence for assessment purposes, pending review of this unit standard.

2	Definitions

As installed refers to the drawings and other relevant documentation giving details of the actual work completed on site.

Fixed fire protection system refers to engineered sets of components that work together to detect fires, alert occupants, and extinguish fires, and may include fixed or automatic systems, such as those described by the standards listed in the references, used for controlling or putting out fires.

Plan in this unit standard means the procedures developed to enable the work to be carried out in a logical and safe manner.

Special hazards fixed fire protection systems refer to systems designed and installed to AS 4214:2018, AS 4587:2020, NFPA 15:2022, NFPA 16:2019, NFPA 17:2024, NFPA 17A:2021, NFPA 750:2023, or NFPA 2001:2022 standards.  They may include but are not limited to – carbon, inert gas; dry chemical; wet chemical; foam, foam-water, water mist; and explosion suppression types of systems.

Standards refer to AS 4214:2018, AS 4587:2020, NFPA 15:2022, NFPA 16:2019, NFPA 17:2024, NFPA 17A:2021, NFPA 750:2023, or NFPA 2001:2022 standards.

Systems documentation refers to the documentation required to be maintained by the relevant special hazards fixed fire protection system standards, including log book, test reports, equipment details and drawings, specifications, contract agreement, additions and alterations, fire reports, building consents standards, codes of practice, installation instructions, test and commissioning procedures, test and maintenance records.

Workplace procedures refer to the documented procedures used by the organisation carrying out the work and applicable to the tasks being carried out.  They may include but are not limited to – standard operating procedures, site safety procedures, equipment operating procedures, codes of practice, quality assurance procedures, housekeeping standards, charging of time and materials, management of drawings and documentation, procedures to comply with legislative and local body requirements.

3	Assessment information

- All activities must comply with relevant legislative and/or regulatory requirements and recognised codes of practice.

- All activities demonstrate safe working practices.

- All activities must be completed and reported within agreed timeframes.

- All activities must be done in accordance with applicable systems documentation and workplace procedures.

4 	Range

a	Systems requirements include but are not limited to – extinguishant, extinguishant containers, control valves, isolating valves, pipeworks, outlets, fixings, seismic restraints.

b	For assessment purposes, competence must be demonstrated on at least three systems.

Outcomes and performance criteria

Outcome 1

Plan and prepare for installation of special hazards fixed fire protection systems.

Performance criteria

1.1	Special hazards fixed fire protection systems are identified and described.

1.2	Systems documentation is located.

1.3	Installation requirements are checked against the physical site requirements.

Range	access, site measurement, structural details, other services.

1.4	Plans for installations are prepared.

1.5	Components and materials are purchased or drawn from stock, and delivery to the sites is confirmed.

Outcome 2

Receive, prepare, and install components for special hazards fixed fire protection systems.

Performance criteria

2.1	Components and materials are received and checked for conformance with systems documentation.

2.2	Components and materials are prepared and set out.

2.3	Components are installed.

2.4	Safety requirements are complied with during installation of components.

Outcome 3

Test installations and complete records for special hazards fixed fire protection systems.

Performance criteria

3.1	Installation tests are completed.

3.2	Test results are analysed and recorded, and corrective actions are taken.

3.3	As installed details of systems are recorded and distributed.

3.4	Safety requirements are complied with during testing of systems.

3.5	Premises are cleared of all surplus introduced materials and equipment and left in a clean and tidy condition.

| Planned review date | 31 December 2029 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 25 May 2001 | 31 December 2017 |
| Review | 2 | 26 March 2007 | 31 December 2017 |
| Review | 3 | 15 October 2015 | 31 December 2026 |
| Review | 4 | 27 June 2024 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0013 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact the Hanga-Aro-Rau Manufacturing, Engineering and Logistics Workforce Development Council qualifications@hangaarorau.nz if you wish to suggest changes to the content of this unit standard.