| Title | Demonstrate advanced knowledge of alternating current and three-phase theory |  |  |
| --- | --- | --- | --- |
| Level | 5 | Credits | 10 |

| Purpose | This unit standard is intended for use in the training and assessment of electricians beyond trade level. It covers alternating current and three-phase power theory, at a level more advanced than the requirements for the National Certificate in Electrical Engineering (Electrician for Registration) (Level 4) [Ref: 1195]. People credited with this unit standard are able to demonstrate knowledge of: – resonant alternating current circuits – power system harmonics – alternating current voltage dividers and phase-shift circuits – power in three-phase balanced loads – three-phase unbalanced star-connected loads. |
| --- | --- |

| Classification | Electrical Engineering > Core Electrical |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Recommended skills and knowledge:

National Certificate in Electrical Engineering (Electrician for Registration) (Level 4) [Ref: 1195] or equivalent trade qualification for electricians.

2	This unit standard has been developed for learning and assessment off-job.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of resonant alternating current circuits.

Performance criteria

1.1	Effects of changing frequency on current and impedance of resonant circuits near resonance are explained with the aid of graphs.

Range	resonant circuits – series, parallel.

1.2	Resonant frequencies of reactive circuits are calculated for given data.

Range	reactive circuits – series circuit, parallel circuit with negligible resistance.

1.3	Magnification factors (Q) of resonant circuits are calculated for given data.

Range	series circuit voltage magnification, parallel circuit current magnification.

1.4	Bandwidth of a resonant circuit is calculated for given data.

1.5	Selectivity of resonant circuits is explained in terms of magnitude of inductor resistance.

Range	high and low values of resistance, series and parallel circuits.

Outcome 2

Demonstrate knowledge of power system harmonics.

Performance criteria

2.1	Shapes of repetitive complex waveforms are explained in terms of harmonic frequencies.

Range	square wave, saw-tooth wave, odd harmonics, even harmonics.

2.2	Devices introducing unwanted odd and/or even harmonics to a power system are identified, with reference to the range of significant harmonics and method of generation.

Range	devices – transformers, alternators, alternating current motors, single-phase rectifiers, three-phase rectifiers, devices with non-sinusoidal loads;

evidence of five devices is required.

2.3	The result of resonance at harmonic frequency is explained in terms of harmonic current compared with fundamental current.

2.4	Use of selective resonant circuits to reduce harmonics in power systems is explained, with reference to acceptor and rejecter circuits.

Outcome 3

Demonstrate knowledge of alternating current voltage dividers and phase-shift circuits.

Performance criteria

3.1	Operation of voltage divider circuits is explained with reference to circuit and phasor diagrams.

Range	voltage dividers – resistive, resistive-capacitive, resistive-inductive, centre-tapped transformer with resistive-capacitive circuit.

3.2	The effects of varying circuit parameters on the input-output phase difference are explained.

Range	circuit parameters – resistance, capacitance, inductance, frequency.

Outcome 4

Demonstrate knowledge of power in three-phase balanced loads.

Performance criteria

4.1	Requirements for balance are explained in terms of line currents and power factors.

4.2	Principles of power factor improvement of three-phase systems are explained with reference to phasor diagrams or power triangles, equipment used, connection configuration, and voltage rating.

Range	equipment – rotating machinery, static capacitors, harmonic filters;

configurations – delta-connected, star-connected;

voltage rating – line voltage, phase voltage.

4.3	Data for three-phase power factor correction are calculated for a given balanced load situation.

Range	data – volt-amperes reactive; capacitance and voltage rating for both delta and star connections.

Outcome 5

Demonstrate knowledge of three-phase unbalanced star-connected loads.

Performance criteria

5.1	Line and neutral currents of unbalanced resistive loads are calculated for given data.

5.2	Line and neutral currents of loads having equal impedance but different power factors are calculated for given data, including unity, leading, and lagging power factors.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 26 February 2002 | 31 December 2012 |
| Review | 2 | 19 June 2009 | 31 December 2025 |
| Rollover and Revision | 3 | 15 March 2012 | 31 December 2025 |
| Revision | 4 | 15 January 2014 | 31 December 2025 |
| Rollover and Revision | 5 | 28 January 2021 | 31 December 2025 |
| Review | 6 | 27 April 2023 | 31 December 2025 |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.