| Title | Demonstrate knowledge of single and three-phase transformers used in the electricity supply industry |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 4 |

| Purpose | People credited with this unit standard are able to: describe single-phase transformers in the electricity supply industry; describe three-phase transformer theory; and demonstrate knowledge of transformer outputs and efficiencies. |
| --- | --- |

| Classification | Electricity Supply > Electricity Supply - Core Skills |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable legislative and industry requirements.

2	Legislation, regulations and/or industry standards relevant to this unit standard include but are not limited to:

- Health and Safety at Work Act 2015;

- Electricity Act 1992;

- Electricity (Safety) Regulations 2010;

- Electricity supply industry codes of practice and documented enterprise procedures, including Safety Manual – Electricity Industry (SM-EI) and relevant EEA guides available from www.eea.co.nz;

and any subsequent amendments and replacements.

3	Definitions

Asset owner refers to a participant who owns or operates assets used for generating or conveying electricity.

Data refers to information of a written or numerical form.  The latter may include summary statistics, information in tables and numbers displayed in a variety of graphs.

Industry requirements include all asset owner requirements and standards; manufacturers’ specifications; and enterprise requirements which cover the documented workplace policies, procedures, specifications, business, and quality management requirements relevant to the workplace in which assessment is carried out.

Outcomes and performance criteria

Outcome 1

Describe single-phase transformers in the electricity supply industry.

Range	double-wound transformer, auto-transformer.

Performance criteria

1.1	The purpose of single-phase transformers is described in terms of their use in the electricity supply industry.

1.2	Single-phase transformer construction is described with the aid of a sketch, and with reference to cores and windings.

1.3	Single-phase transformer operating principles are described with reference to mutual or self induction and regulation by tap changing.

Outcome 2

Describe three-phase transformer theory.

Performance criteria

2.1	The purpose of three-phase transformers is described in terms of their use in the electricity supply industry.

2.2	Three-phase transformer construction is described with the aid of a sketch, and with reference to cores and windings.

2.3	Three-phase transformer operating principles are described with reference to mutual or self induction and regulation by tap changing.

Outcome 3

Demonstrate knowledge of transformer outputs and efficiencies.

Performance criteria

3.1	The relationships between line and phase values of voltage, current, and volt-amps (VA) are stated for star and delta winding configurations.

3.2	Transformer values are calculated from given data for different winding configurations.

Range	primary and secondary voltage and current, turns ratio, VA rating; configurations – star-star, delta-delta, star-delta, delta-star.

3.3	The effect of load current on the secondary terminal voltage of a transformer is illustrated with the aid of calculations, and the use of tap changing to overcome this effect is described.

3.4	Transformer efficiencies are calculated from given data for different values of secondary load.

| Planned review date | 31 December 2026 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 24 June 2002 | 31 December 2013 |
| Revision | 2 | 11 February 2004 | 31 December 2013 |
| Rollover and Revision | 3 | 26 November 2007 | 31 December 2013 |
| Review | 4 | 9 December 2010 | 31 December 2019 |
| Review | 5 | 16 March 2017 | 31 December 2023 |
| Review | 6 | 30 September 2021 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0120 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Connexis - Infrastructure Industry Training Organisation  qualifications@connexis.org.nz if you wish to suggest changes to the content of this unit standard.