| Title | Conduct basic laboratory tests on food products |  |  |
| --- | --- | --- | --- |
| Level | 2 | Credits | 2 |

| Purpose | People credited with this unit standard are able to: take samples of food products; and conduct basic food product laboratory tests. |
| --- | --- |

| Classification | Food and Related Products Processing > Food and Related Product Laboratory Practice |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Legislation relevant to this unit standard includes but is not limited to the: 
Health and Safety at Work Act 2015.
Food Act 2014.
Food Regulations 2015.
Resource Management Act 1991.

2	Definitions

Organisational procedures refer to documents that include: worksite rules, codes, and practices; equipment operating instructions; manufacturer’s specifications; production specifications; documented quality management systems; and health and safety requirements, including the use of PPE.

PPE refers to personal protective equipment such as protective clothing, gloves, safety glasses, headwear, footwear, hearing protection, safety devices.

3	Assessment information

All activities and evidence must be in accordance with organisational procedures.

Outcomes and performance criteria

Outcome 1

Take samples of food products.

Range	any two of – analytical, microbiological, sensory, quality.

Performance criteria

1.1	Samples are taken and labelled in accordance with standard test procedures.

1.2	Samples are delivered to designated places and/or personnel.

1.3	Any defects or abnormalities in the sample are identified and reported to supervisory staff.

Outcome 2

Conduct basic laboratory tests for food products.

Performance criteria

2.1	Standardisation and calibration or adjustment procedures are carried out on the testing equipment prior to testing product.

2.2	Tests and analyses are carried out in accordance with standard test procedures.

| Planned review date | 31 December 2025 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 30 April 1995 | 31 December 2022 |
| Revision | 2 | 18 December 1998 | 31 December 2022 |
| Review | 3 | 19 August 2004 | 31 December 2022 |
| Review | 4 | 19 March 2010 | 31 December 2022 |
| Review | 5 | 25 February 2021 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0013 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Competenz qualifications@competenz.org.nz if you wish to suggest changes to the content of this unit standard.