| Title | Terminate low voltage polymeric insulated power cables in the electricity supply industry |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 4 |

| Purpose | People credited with this unit standard are able to terminate low voltage polymeric insulated power cables in the electricity supply industry. |
| --- | --- |

| Classification | Electricity Supply > Electricity Supply - Distribution Networks |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable legislative and industry requirements.

2	Legislation, regulations and/or industry standards relevant to this unit standard include but are not limited to the current version of the Health and Safety at Work Act 2015; Electricity Act 1992; Electricity (Safety) Regulations 2010; and any subsequent amendments and replacements; Electricity supply industry codes of practice and documented enterprise procedures, including Safety Manual – Electricity Industry (SM-EI) (2015) Wellington: Electricity Engineers’ Association, available at www.eea.co.nz.

3	Definitions

Asset owner refers to a participant who owns or operates assets used for generating or conveying electricity.

Industry requirements include all asset owner requirements; manufacturers’ specifications; and enterprise requirements which may include the documented workplace policies, procedures, specifications, business, and quality management requirements relevant to the workplace in which assessment is carried out.

Low voltage – voltages exceeding 50V AC but not exceeding 1000V AC.

4	This unit standard excludes tough plastic sheath (TPS) type cables.

5	It is recommended people achieve Unit 10507, Use personal protective equipment in an electricity supply environment; Unit 10508, Identify electricity systems used in the electricity supply industry; Unit 12300, Demonstrate knowledge of safety statutes and codes used in the electricity supply industry; and Unit 18038, Describe health and safety duties on electricity supply sites, or demonstrate equivalent knowledge and skills, before being assessed against this unit standard.

Outcomes and performance criteria

Outcome 1

Terminate low voltage polymeric insulated power cables in the electricity supply industry.

Performance criteria

  - Work site is prepared, and a safe working zone is established.

Range	includes – scope of work, identification and testing of cables.

1.2	Terminations are prepared.

Range	cleaning, glanding, stripping.

1.3	Conductors are terminated.

Range	compression, mechanical, sweat, weld.

1.4	Conductors are reinsulated.

Range	barrier, elastomer, heat shrink, tapes.

1.5	Earth continuity and mechanical integrity are re-established.

1.6	Cables are tested for insulation resistance, polarity, and mechanical protection.

1.7	Termination locations are reported.

| Planned review date | 31 December 2025 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 22 October 2003 | 31 December 2022 |
| Review | 2 | 20 November 2009 | 31 December 2022 |
| Review | 3 | 27 February 2020 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0120 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Connexis – Infrastructure Industry Training Organisation qualifications@connexis.org.nz if you wish to suggest changes to the content of this unit standard.