| Title | Demonstrate knowledge of plant and equipment in electricity supply networks |  |  |
| --- | --- | --- | --- |
| Level | 2 | Credits | 5 |

| Purpose | People credited with this unit standard are able to demonstrate knowledge of plant and equipment in electricity supply networks. |
| --- | --- |

| Classification | Electricity Supply > Electricity Supply - Core Skills |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable legislative and industry requirements.

2	Legislation, regulations and/or industry standards relevant to this unit standard include but are not limited to the current version of the Health and Safety at Work Act 2015; and any subsequent amendments and replacements; Electricity Act 1992; Electricity (Safety) Regulations 2010; Electricity supply industry codes of practice and documented enterprise procedures, including Safety Manual – Electricity Industry (SM-EI) (2021) available from www.eea.co.nz.

3	Definitions

Asset owner refers to a participant who owns or operates assets used for generating or conveying electricity.

Industry requirements include all asset owner requirements; manufacturers’ specifications; and enterprise requirements which cover the documented workplace policies, procedures, specifications, business, and quality management requirements relevant to the workplace in which assessment is carried out.

4	Range

Plant and equipment may include but is not limited to – lines, cables, substation, earth switch, disconnector, circuit breaker, outdoor bus, surge arrestor, indoor switchboard, supply bus, electrical drop outs (DDO or EDO) reclosers, reactors, capacitors, transformers.

Candidates should demonstrate knowledge of plant and equipment used in the electricity supply sector in which they work.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of plant and equipment in electricity supply networks.

Performance criteria

1.1	Primary components used in electricity supply networks are identified and described.

Range	evidence of ten components is required.

1.2	Typical operating voltages of distribution, traction and transmission are identified.

1.3	Purpose and function of primary components used in electricity supply networks are described.

Range	evidence of ten components is required.

| Planned review date | 31 December 2024 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 22 October 2003 | 31 December 2013 |
| Rollover and Revision | 2 | 20 June 2008 | 31 December 2013 |
| Review | 3 | 21 July 2011 | 31 December 2013 |
| Review | 4 | 15 August 2013 | 31 December 2021 |
| Review | 5 | 28 November 2019 | N/A |
| Revision | 6 | 28 January 2021 | N/A |
| Revision | 7 | 27 May 2021 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0120 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Connexis - Infrastructure Industry Training Organisation qualifications@connexis.org.nz if you wish to suggest changes to the content of this unit standard.