| Title | Install earthing systems for multiple earthed neutral installations |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 3 |

| Purpose | This unit standard is for people wishing to qualify in the electrical industry and covers the installation of multiple earthed neutral (MEN) earthing systems. People credited with this unit standard are able to: – plan earthing systems for MEN installations; – install earthing systems for MEN installations; and – test MEN earthing systems and document installation results. |
| --- | --- |

| Classification | Electrical Engineering > Electrical Installation and Maintenance |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	This unit standard has been developed for learning and assessment on-job.

2	This unit standard and unit standards 1204, 29473, and 29477 together meet the assessment requirements of ERAC CEPC 16.

This unit standard and unit standards 1204 and 29477 together meet the assessment requirements of ERAC CEPC 17.

This unit standard and unit standards 29419, 29441, and 29469 together meet the assessment requirements of ERAC CEPC 21.

This unit standard and unit standards 5931, 29419, 29430, and 29440 together meet the assessment requirements of ERAC CEPC 38.

3	Definitions

CEPC – Critical Essential Performance Capabilities.

ERAC – Electrical Regulatory Authorities Council.

EWRB – Electrical Workers Registration Board.

Industry practice – those practices that competent practitioners within the industry recognise as current industry best practice.

Safe and sound practice – as it relates to the installation of electrical equipment is defined in AS/NZS 3000:2007, Electrical Installations (known as the Australian/New Zealand Wiring Rules).

4	Range

a	Candidates may refer to current legislation and Standards during assessment.

b	Demonstration of safe working practices and installation in accordance with safe and sound practice are essential components of assessment of this unit standard.

c	All activities and evidence presented for all outcomes and performance criteria in this unit standard must be in accordance with:

i	legislation;

ii	policies and procedures;

iii	ethical codes;

iv	Standards – may include but are not limited to those listed in Schedule 2 of the Electricity (Safety) Regulations 2010;

v	applicable site, enterprise, and industry practice; and,

vi	where appropriate, manufacturers’ instructions, specifications, and data sheets.

Outcomes and performance criteria

Outcome 1

Plan earthing systems for MEN installations.

Performance criteria

1.1	Plan earth electrode system.

Range	size, type, position.

1.2	Plan earthing cable and route.

1.3	Identify all metal work requiring bonding.

Outcome 2

Install earthing systems for MEN installations.

Performance criteria

2.1	Install earth electrode, main earth conductor, and other components.

2.2	Bond metalwork.

Range	bonding may include but is not limited to connections between – water pipes, gas pipes, waste pipes, showers, sinks, switchboard enclosures.

evidence of two is required.

2.3	Connect earthing and bonding.

Range	connections – clean, secure, protected against corrosion, protected against mechanical damage, readily accessible, labelled as required.

Outcome 3

Test MEN earthing systems and document installation results.

Performance criteria

3.1	Test earthing systems for compliance with current regulations and standards and ensure that they are safe to connect.

3.2	Document test results and complete a certificate of compliance in accordance with company requirements.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 22 April 1994 | 31 December 2013 |
| Review | 2 | 23 April 1996 | 31 December 2013 |
| Review | 3 | 28 June 1999 | 31 December 2013 |
| Revision | 4 | 3 April 2001 | 31 December 2013 |
| Review | 5 | 26 May 2005 | 31 December 2021 |
| Rollover and Revision | 6 | 15 March 2012 | 31 December 2021 |
| Revision | 7 | 15 January 2014 | 31 December 2021 |
| Review | 8 | 21 July 2016 | 31 December 2025 |
| Revision | 9 | 16 March 2017 | 31 December 2027 |
| Review | 10 | 24 March 2022 | 31 December 2027 |
| Rollover and Revision | 11 | 25 May 2023 | 31 December 2027 |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.