| Title | Describe and use complex electrical instruments |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 2 |

| Purpose | This unit standard is for people in the electrical and related trades, who need to use and interpret the more complex types of instruments. People credited with this unit standard are able to: – describe complex electrical instruments; and – use complex electrical instruments. |
| --- | --- |

| Classification | Electrical Engineering > Core Electrical |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	This unit standard has been developed for learning and assessment off-job.

2	References

Electricity (Safety) Regulations 2010;

Health and Safety at Work Act 2015;

AS/NZS 3000:2018, Electrical installations (known as the Australian/New Zealand Wiring Rules), including Amendment 1;

AS/NZS 3760:2010, In-service safety inspection and testing of electrical equipment, including Amendment 1;

and all subsequent amendments and replacements.

3	Definition

The term complex electrical instruments refers to instruments other than the basic instruments for the measurement of voltage, current, resistance, and insulation resistance.

4	Range

Evidence is required for at least the following instruments – earth resistance tester, earth-fault loop tester, energy recording meter, oscilloscope, phase rotation indicator, power factor meter, residual current device (RCD) tester, wattmeter.

Outcomes and performance criteria

Outcome 1

Describe complex electrical instruments.

Performance criteria

1.1	The function and purpose of each instrument are described in accordance with industry practice.

1.2	One application for each instrument are described in accordance with industry practice.

1.3	Connection diagram, settings, and method of use of each instrument are described in accordance with industry practice.

1.4	Maintenance and care of each instrument are described in accordance with industry practice.

Outcome 2

Use complex electrical instruments.

Performance criteria

2.1	Instruments are zeroed and calibrated as appropriate in accordance with manufacturers’ specifications.

2.2	Instruments are connected and settings selected as appropriate in accordance with manufacturers’ specifications.

2.3	Measurements or indications are taken as appropriate and recorded in accordance with industry practice.

2.4	Instruments are used in a manner that causes no danger to persons or damage to instrument or equipment.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 22 April 1994 | 31 December 2013 |
| Review | 2 | 23 April 1996 | 31 December 2013 |
| Review | 3 | 10 February 1999 | 31 December 2013 |
| Review | 4 | 26 May 2005 | 31 December 2027 |
| Rollover and Revision | 5 | 15 March 2012 | 31 December 2027 |
| Revision | 6 | 15 January 2014 | 31 December 2027 |
| Rollover and Revision | 7 | 28 January 2021 | 31 December 2027 |
| Review | 8 | 25 May 2023 | 31 December 2027 |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.