| Title | Demonstrate hydraulic knowledge for firefighting |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 4 |

| Purpose | People credited with this unit standard are able to: - demonstrate knowledge of hydraulic principles and relationships; and - calculate areas, volumes, and flow rates for regular and irregular geometrical shapes of water tanks. |
| --- | --- |

| Classification | Fire and Rescue Services > Fire and Rescue Services - Generic Fire Fighting |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Compliance with the fire and emergency agency’s Health and Safety policy and procedures is mandatory.

2	Definition

Fire and emergency agency’s requirements refer to policies, procedures and supporting documentation on safety and operations set down by each fire and emergency agency employer or host organisation.

3	Assessment against all outcomes must be in accordance with the fire and emergency agency’s requirements.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of hydraulic principles and relationships.

Performance criteria

1.1	The maximum lift of water is defined and explained.

Range	theoretical, practical.

1.2	The change in pressure in a hose is calculated from given data.

Range	friction coefficient, diameter, length, head, velocity and/or flow.

1.3	Problems dealing with a range of hydraulic relationships are solved.

Range	jet reaction, head, velocity and/or flow, pressure.

1.4	Velocity and discharge rates for water passing through hoses and nozzles are explained.

Range	flow rate, static pressure, running pressure.

Outcome 2

- Calculate areas, volumes, and flow rates for regular and irregular geometrical shapes of water tanks.

Performance criteria

2.1	Volumes of regular geometrically shaped tanks are calculated.

Range	circular tank, rectangular tank, rectangular static water supply with sloping base.

2.2	Flow rates of water in given examples are calculated.

Range	a minimum of two of – pipes, hose, nozzle, channel, creek.

2.3	The calculation to convert pressure into head and from head into pressure is demonstrated.

2.4	Surface areas and volumes of irregular shaped water catchment areas are calculated.

| Planned review date | 31 December 2026 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 25 March 2004 | 31 December 2023 |
| Review | 2 | 20 November 2009 | 31 December 2023 |
| Review | 3 | 30 September 2021 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0039 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact The Skills Organisation reviewcomments@skills.org.nz if you wish to suggest changes to the content of this unit standard.