| Title | Demonstrate knowledge of earthing in the electricity supply industry |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 5 |

| Purpose | People credited with this unit standard are able to demonstrate knowledge of: portable and/or temporary earthing requirements for electrical conductors, plant, and equipment; checking portable and/or temporary earths before applying to electrical conductors, plant and equipment of all voltages; proving earthing points are de-energised; applying and removing portable and/or temporary earths from electrical equipment, conductors, and plant; earthing regulatory requirements; and electrical bonding. |
| --- | --- |

| Classification | Electricity Supply > Electricity Supply - Core Skills |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable legislative and industry requirements.

2	Legislation, regulations and/or industry standards relevant to this unit standard include but are not limited to:

- Health and Safety at Work Act 2015

- Electricity Act 1992

- Electricity (Safety) Regulations 2010

- Electricity supply industry codes of practice and documented enterprise procedures, including Safety Manual – Electricity Industry (SM-EI) and relevant EEA guides available from www.eea.co.nz

- NZECP 35:1993 New Zealand Electrical Code of Practice for Power System Earthing available at https://www.worksafe.govt.nz/

and any subsequent amendments and replacements.

3	Definitions

Asset owner refers to a participant who owns or operates assets used for generating or conveying electricity.

Earths include three-phase and single-phase earths and equipment-specific earths.

Industry requirements include all asset owner requirements and standards; manufacturers’ specifications; and enterprise requirements which cover the documented workplace policies, procedures, specifications, business, and quality management requirements relevant to the workplace in which assessment is carried out.

4	It is recommended people achieve Unit 10507, Use personal protection equipment in an electricity supply environment; or demonstrate equivalent knowledge and skills, before being assessed against this unit standard.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of portable and/or temporary earthing requirements for electrical conductors, plant and equipment.

Range	includes but is not limited to – Electricity (Safety) Regulations 2010, SM-EI.

Performance criteria

1.1	Requirements for earthing for safe working are described.

1.2	Reasons for earth switches, where available, to be the first earth applied are described with reference to SM-EI.

1.3	Responsibilities of employees when applying earths are described.

1.4	Statutory and enterprise inspections and care of insulating sticks and voltage detection devices are demonstrated.

Outcome 2

Demonstrate knowledge of checking portable and/or temporary earths before applying to electrical conductors, plant and equipment of all voltages.

Performance criteria

2.1	The conductors or item of plant or equipment are identified in terms of single line diagram, labels, line, plant and equipment layout.

2.2	Inspection requirements for conductors or item of plant or equipment to be earthed are described.

2.3	Earth attachment positions on conductors, plant and equipment and the local earth are described in terms of earthing terminals, tail clamp attachment points, clamp rating and compatibility.

2.4	Earths and procedures are described in terms of portable earths, voltage rating, fault level, and conductor rating.

2.5	Earthing compliance requirements are described in terms of acceptable surface condition and cleanliness; and clamps, leads, fittings, sticks and poles, and terminations.

Outcome 3

Demonstrate knowledge of proving earthing points are de-energised.

Range	voltage detection device, proving unit, insulation stick.

Performance criteria

3.1	Voltage detection device operation is described.

Range	overhead circuit conductors, first earth, out of sight of other applied earths, integral earthing not possible, capacitor.

3.2	Voltage detection devices and insulating sticks for system voltage are described in terms of voltage rating.

3.3	Voltage detection device testing requirements are described.

Range	audible test, visual test, industry standards.

3.4	The requirements of de-energised earthing points are described.

Outcome 4

Demonstrate knowledge of applying and removing portable and/or temporary earths from electrical equipment, conductors and plant.

Performance criteria

4.1	Personal protective equipment requirements are described.

4.2	Approval requirements are described.

Range	access permit, operating order.

4.3	Earth application requirements are described.

Range	tail clamp connection to earth first, leads kept away from person, positive connection made and held in place before clamping, bonding across any conductor to be broken or equipment to be opened, bonding to adjacent metal, equipotential environment for work.

Outcome 5

Demonstrate knowledge of earthing regulatory requirements.

Performance criteria

5.1	Earthing terms are described.

Range	earthed, earthing system, earth electrode, earth impedance, earthing conductor, main earthing conductor.

5.2	Reasons for the requirement of low resistance for an earthing system are explained.

5.3	Metalwork that must be earthed is identified.

Range	metalwork forming parts of works, electrical installations.

5.4	Earthing and bonding requirements for high voltage (HV) equipment and substations are described.

Range	NZECP 35:1993.

Outcome 6

Demonstrate knowledge of electrical bonding.

Performance criteria

6.1	Bonding terms are described.

Range	electrical bonding, earth bonding, equipotential bonding.

6.2	The need for bonding metalwork is explained in terms of the elimination of the risk of electric shock, insulation, and lightning.

6.3	Bonding methods are described.

| Planned review date | 31 December 2027 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 20 April 2004 | 31 December 2018 |
| Rollover and Revision | 2 | 20 June 2008 | 31 December 2018 |
| Review | 3 | 19 November 2010 | 31 December 2019 |
| Review | 4 | 16 March 2017 | 31 December 2024 |
| Review | 5 | 2 March 2023 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0120 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@WaihangaAraRau.nz if you wish to suggest changes to the content of this unit standard.