| Title | Install toughened glass doors and entrances |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 5 |

| Purpose | This unit standard is for experienced people working in the glazing industry. People credited with this unit standard are able to: demonstrate knowledge of glazing systems for installing toughened glass doors and entrances; prepare to install; and install toughened glass doors and entrances. |
| --- | --- |

| Classification | Glass and Glazing > Flat Glass |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Definition

Worksite requirements – refer to instructions to staff on policy and procedures which are documented in memo or manual format and are available in the workplace.  These requirements include – company specifications and procedures, work instructions, manufacturer’s specifications, product quality specifications, legislative requirements.

2	Legislation and standards relevant to this unit standard include – Building Act 2004, Health and Safety in Employment Act 1992, New Zealand Standard (NZS) 4223.3:1999 Glazing in buildings – Human impact safety requirements, available at http://www.standards.co.nz.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of glazing systems for installing toughened glass doors and entrances.

Performance criteria

  - Installation process for each glazing system used for installing toughened glass doors and entrances is described in terms of worksite requirements.

Range	process includes – design details and specifications, drilled holes size and location, structural hardware and fixing selection, structural design limitations, structural assembly methods.

1.2	Sealant and glazing materials used for installing toughened glass doors and entrances are identified in terms of worksite requirements.

Outcome 2

Prepare to install toughened glass doors and entrances.

Performance criteria

2.1	Customer’s requirements are confirmed before work begins in accordance with worksite requirements.

Range	requirements include – design details, drawings and specifications, product information, applicable codes and regulations.

2.2	All necessary equipment, tools and installation materials are checked and assembled before work begins in accordance with worksite requirements.

2.3	Installation site check is completed in accordance with worksite requirements.

Range	site check includes – measurements, fixing and floor spring provisions, if surrounds are plumb and/or level, any potential installation hazards or problems.

Outcome 3

Install toughened glass doors and entrances.

Performance criteria

3.1	Installation of glass meets the job specifications and worksite requirements.

3.2	Installation of hardware, fittings, and accessories meets the job specifications and worksite requirements.

Range	requirements include – fitting of door handles and seals, fitting of cover plates as required, marking of glass that can be mistaken for unimpeded path of travel;

fittings include – floor springs, floor pivots, overhead closers, channels and fixings.

3.3	Operations are completed without injury to personnel or damage to product and equipment in accordance with the job specifications and worksite requirements.

3.4	Installation is cleaned and work area is left clear and cleaned in accordance with worksite requirements.

3.5	Customer is advised of any relevant maintenance requirements in accordance with worksite requirements.

This unit standard is expiring. Assessment against the standard must take place by the last date for assessment set out below.

| Replacement information | This unit standard, unit standard 20504, unit standard 20512, unit standard 20518, unit standard 20520, and unit standard 20521 replaced unit standard 2042, unit standard 2044, and unit standard 2047. |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 27 April 2004 | 31 December 2013 |
| Review | 2 | 21 May 2010 | 31 December 2017 |
| Review | 3 | 18 June 2015 | 31 December 2025 |
| Review | 4 | 24 November 2022 | 31 December 2025 |
| Rollover | 5 | 24 October 2024 | 31 December 2025 |

| Consent and Moderation Requirements (CMR) reference | 0048 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.