| Title | Apply sealants to joints |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 3 |

| Purpose | This unit standard is for people who work, or intend to work in construction. People credited with this unit standard are able to: select sealant; prepare and seal joints; and work safely and with care when applying sealant. |
| --- | --- |

| Classification | Construction Trades > Core Construction |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Legislation and codes relevant to this unit standard include but are not limited to:

Plumbers, Gasfitters, and Drainlayers Act 2006;

Health and Safety at Work Act 2015

Building Act 2004

available from https://www.legislation.govt.nz/

New Zealand Building Code, Clause E1 Surface Water, and Clause E2 External Moisture, available from www.building.govt.nz;

and all subsequent amendments and replacements.

2	Definition

Other services refer to any existing installed services.

Outcomes and performance criteria

Outcome 1

Select sealant.

Performance criteria

1.1	Sealant is selected to conform with manufacturer’s recommended use.

Outcome 2

Prepare and seal joints.

Performance criteria

2.1	Joint is prepared and sealant is applied in accordance with manufacturer’s instructions.

Outcome 3

Work safely and with care when applying sealant.

Performance criteria

- 3.1	Joint sealing is carried out avoiding harm to people and damage to property, other services, materials, tools, and equipment.

| Planned review date | 31 December 2027 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 22 July 1994 | 31 December 2025 |
| Revision | 2 | 19 June 1996 | 31 December 2025 |
| Revision | 3 | 3 April 1997 | 31 December 2025 |
| Review | 4 | 25 October 2007 | 31 December 2025 |
| Review | 5 | 30 March 2023 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0008 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact the Waihanga Ara Rau Construction and Infrastructure Workforce Development Council qualifications@waihangaararau.nz if you wish to suggest changes to the content of this unit standard.