	NZQA Expiring unit standard
	21454 version 6

	
	Page 1 of 2




	Title
	Demonstrate knowledge of and operate refrigeration equipment in an energy and chemical plant

	Level
	4
	Credits
	10


	Purpose
	This unit standard is intended for people working as boiler operators and energy and chemical process operators in an energy and chemical plant.

People credited with this unit standard are able to: describe refrigeration systems used in the energy and chemical industry; demonstrate knowledge of the operation of refrigeration equipment in an energy and chemical plant; and operate refrigeration equipment in an energy and chemical plant.


	Classification
	Energy and Chemical Plant > Operation of Energy and Chemical Plant


	Available grade
	Achieved


Guidance Information

1
Legislation and regulations relevant to this unit standard includes but is not limited to:

· Health and Safety at Work Act 2015;

· Health and Safety at Work (Hazardous Substances) Regulations 2017;
· Resource Management Act 1991;

and any subsequent amendments.

2 Definitions

Energy and chemical plant may be in – petrochemical, agri-nutrient, power generation, dairy processing, meat processing, and wood fibre manufacturing, or other plants that operate with a combination of high temperatures, pressures, steam and/or chemicals in gas, liquid or solid form.
Organisational requirements – documented policies and procedures.  These may include: equipment manufacturers’ procedures; plant procedures; suppliers’ instructions; site signage; codes of practice; company health and safety plans; on site briefings; and supervisor’s instructions.  This includes all regulatory and legislative obligations that apply to the plant.
Plant – the operational unit, equipment and/or workplace at which the person is working.

3 For the purposes of assessment:

· evidence for the practical components of this unit standard must be supplied from the workplace.

Outcomes and performance criteria
Outcome 1

Describe refrigeration systems used in the energy and chemical industry.

Performance criteria

1.1
Describe refrigeration systems in terms of operating and design concepts.

Range
refrigeration systems include but are not limited to – mechanical absorption, vapour compression.

1.2
Describe components of refrigeration systems in terms of purpose and operating concepts.

Range
components include but are not limited to – drier, evaporator, condenser, oil separator, expansion valve, temperature regulating valve, slide loading valve, regulator, liquid receiver, compressors, safety devices.

1.3
Describe refrigerants used in terms of their potential hazards, use, chemical properties.

Range
refrigerants include but are not limited to – ammonia, fluorocarbons, propane.

1.4
Describe refrigerant systems in terms of the safety requirements.

Range
safety requirements include but are not limited to – safety data sheets, safety equipment, safety procedures.

1.5
Describe potential causes of operational problems in terms of the operational steps and techniques required to avoid them.

Range
operational problems include but are not limited to – leakage, freeze up, liquid carry over, blocked strainers, non-condensable gas in system, water in system, high system pressure, over charge, under charge.

Outcome 2

Demonstrate knowledge of the operation of refrigeration equipment in an energy and chemical plant.

Performance criteria

2.1
Describe start-up procedures in accordance with organisational requirements.

2.2
Describe routine shut-down procedures in accordance with organisational requirements.

2.3
Describe emergency shut-down procedures in accordance with organisational requirements.

2.4
Identify and describe control and protection systems for the refrigeration equipment in terms of their purpose and in accordance with organisational requirements.

Range
evidence of one control system and one protection system is required.
Outcome 3

Operate refrigeration equipment in an energy and chemical plant.
Performance criteria

3.1
Identify the location of the refrigeration equipment using the site drawing system in accordance with organisational requirements.

3.2
Operate refrigeration equipment using safe work practices in accordance with organisational requirements.

3.3
Carry out routine procedures and checks on refrigeration equipment in accordance with organisational requirements.

3.4
Identify and take corrective actions for refrigeration equipment process disruptions in accordance with organisational requirements.

Range
process disruptions may include but are not limited to – process deviations, equipment malfunctions;


evidence of two different types of process disruption is required.

3.5
Complete all plant documentation related to the process and equipment operation in accordance with organisational requirements.

	Replacement information
	This unit standard was replaced by skill standard 40438.


This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.
Status information and last date for assessment for superseded versions

	Process
	Version
	Date
	Last Date for Assessment

	Registration
	1
	27 June 2005
	31 December 2014

	Rollover and Revision
	2
	25 July 2006
	31 December 2014

	Review
	3
	22 May 2009
	31 December 2016

	Review
	4
	24 October 2014
	31 December 2022

	Review
	5
	27 February 2020
	31 December 2027

	Review
	6
	24 April 2025
	31 December 2027


	Consent and Moderation Requirements (CMR) reference
	0079


This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

	Hanga-Aro-Rau Manufacturing, Engineering and Logistics Workforce Development Council 

SSB Code 6049 
	SYMBOL 211 \f "Symbol" New Zealand Qualifications Authority 2025



