| Title | Demonstrate knowledge of basic thermodynamics relevant to the energy and chemical industry |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 5 |

| Purpose | This unit standard is intended for people working as boiler operators and process operators in an energy and chemical plant. People credited with this unit standard are able to demonstrate knowledge of: basic thermodynamics; the basics of energy; and the basics of heat, relevant to the energy and chemical industry. |
| --- | --- |

| Classification | Energy and Chemical Plant > Operation of Energy and Chemical Plant |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Legislation and regulations relevant to this unit standard include but are not limited to:

- Health and Safety at Work Act 2015;

- Health and Safety at Work (Hazardous Substances) regulations 2017 (HSWA);

- Resource Management Act 1991;

and any subsequent amendments.

- Definitions

Energy and chemical plant may be in – petrochemical, agri-nutrient, power generation, dairy processing, meat processing, and wood fibre manufacturing, or other plants that operate with a combination of high temperatures, pressures, steam and/or chemicals in gas, liquid or solid form.

Plant – the operational unit, equipment and/or workplace at which the person is working.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of basic thermodynamics relevant to the energy and chemical industry.

Performance criteria

1.1	Describe thermodynamics in terms of the basic principles.

Range	principles include but are not limited to – energy, heat, specific heat capacity, temperature, work, pressure, flow, power, force.

1.2	Describe the relationship between pressure, temperature, and volume in terms of the equation for each gas law.

Range	gas laws include but are not limited to – Boyle’s Law, Charles’ Law, Gay-Lussac’s Law, Combined Gas Law.

1.3	Describe the relationship between temperature and pressure in terms of saturation temperature and changes of state.

1.4	Describe absolute and gauge pressure in terms of their relationship to the energy and chemical industry.

1.5	Describe a thermodynamic cycle in terms of its relationship to the energy and chemical industry.

Outcome 2

Demonstrate knowledge of the basics of energy relevant to the energy and chemical industry.

Performance criteria

2.1	Describe laws that govern the behaviour of energy in terms of the laws of thermodynamics.

Range	laws of thermodynamics include but are not limited to – zeroth, first, second, third.

2.2	Describe common forms of energy in terms of their uses.

Range	common forms of energy include but are not limited to – potential, kinetic, internal, chemical, nuclear.

2.3	Describe the effect of energy on a substance using thermodynamic terms.

Range	thermodynamic terms include but are not limited to – temperature, coefficient of linear expansion, change of state, specific heat capacity.

Outcome 3

Demonstrate knowledge of the basics of heat relevant to the energy and chemical industry.

Performance criteria

3.1	Describe heat in terms of types.

Range	types include but are not limited to – sensible, latent, super.

3.2	Describe the transfer of energy from one body to another in terms of the process.

Range	transfer includes but is not limited to – temperature, differential, coefficient of heat transfer, conduction, convection, radiation.

3.3	Interpret steam tables in terms of determining energy contents of steam and the boiling point of steam at different pressures.

| Replacement information | This unit standard was replaced by skill standard 40381. |
| --- | --- |

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 27 June 2005 | 31 December 2014 |
| Rollover and Revision | 2 | 25 July 2006 | 31 December 2014 |
| Review | 3 | 22 May 2009 | 31 December 2016 |
| Review | 4 | 24 October 2014 | 31 December 2022 |
| Review | 5 | 27 February 2020 | 31 December 2026 |
| Review | 6 | 27 March 2025 | 31 December 2026 |

| Consent and Moderation Requirements (CMR) reference | 0079 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.