| Title | Apply grouts and flexible sealants to floor and wall tiles on site |
| --- | --- |
| Level | 4 | Credits | 10 |

| Purpose | People credited with this unit standard are able to demonstrate knowledge of grouts, grout additives and flexible sealants used for floor and wall tiling; select grout and grout additive, and flexible sealant for floor and wall tiles on site; mix grout and grout additive on site; apply grout and flexible sealant to floor and wall tiles on site; and complete work operations. |
| --- | --- |

| Classification | Construction Trades > Floor and Wall Tiling |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1 	Definitions

Sealant refers to flexible joint filler that is applied to movement joints within tiling jobs.

Specifications refers to documented instructions (oral, written, graphic) and may include any of the following: manufacturer’s specifications, recommendations or technical data sheets; material specifications; specifications from a specialist source such as an architect, designer, engineer or a supervisor; site or work specific requirements.

Work site practice refers to the documented procedures specific to a work site which set out the standard and required practices of that work site.

2	For all on-site unit standards the practical assessment evidence must be provided in the context of commercial business construction operations, in the workplace, under normal workplace conditions.

3	Credit for this unit standard indicates compliance with industry practice.  Industry practice refers to the ability to work unsupervised, demonstrating knowledge and skills that reflect the productivity, uniformity, finish quality and material economies currently accepted within industry.

4	Legislation and publications relevant to this unit standard include:

Health and Safety in Employment Act 1992 and Health and Safety in Employment Regulations 1995;

Building Act 2004;

Resource Management Act 1991;

AS 3958.1:2007, Ceramic tiles - Guide to the installation of ceramic tiles; available from https://www.saiglobal.com/pdftemp/previews/osh/as/as3000/3900/3958.1-2007.pdf.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of grouts, grout additives and flexible sealants used for floor and wall tiling.

Performance criteria

1.1	Grouts, grout additives, and flexible sealants used for floor and wall tiling are identified by types and their uses.

1.2	Grouts, grout additives, and flexible sealants are described in terms of their maintenance requirements once applied.

1.3	Procedures for mixing and applying grouts, grout additives, and flexible sealants are explained in accordance with the manufacturer’s specifications and work site practice.

Outcome 2

Select grout and grout additive, and flexible sealant for floor and wall tiles on site.

Range	grouts and grout additives – cement-based, epoxy, acrylic;

sealants – urethane, silicon (acetic and neutral cure).

Performance criteria

  - Grout, grout additive, and flexible sealant are selected in accordance with job specifications and tile types.

Outcome 3

Mix grout and grout additive on site.

Range	manual, mechanical.

Performance criteria

3.1	Grout and grout additive are mixed in accordance with manufacturer’s specifications.

  - Safety procedures specified for type of grout and grout additive are followed in accordance with work site practice.

Outcome 4

Apply grout and flexible sealant to floor and wall tiles on site.

Range	grouts and grout additives – cement-based, epoxy, acrylic;

sealants – urethane, silicon (acetic and neutral cure).

Performance criteria

  - Grout and flexible sealant are applied in accordance with manufacturer’s specifications.

  - Safety procedures specified for type of grout and flexible sealant are followed in accordance with work site practice.

  - Finished surface is cleaned and polished in accordance with job specifications.

Outcome 5

Complete work operations.

Performance criteria

5.1	All operations are safely completed; workplace, tools, plant and equipment are cleaned; and tools, plant and equipment are stored in accordance with work site practice.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 16 December 2005 | 31 December 2024 |
| Review | 2 | 18 February 2011 | 31 December 2024 |
| Review | 3 | 30 June 2022 | 31 December 2024 |

| Consent and Moderation Requirements (CMR) reference | 0048 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.