| Title | Describe irrigation filters, and repair and maintain an irrigation system used in horticulture |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 5 |

| Purpose | People credited with this unit standard are able to: describe irrigation filters; repair a leaking or broken irrigation pipe; carry out pre- season maintenance of an irrigation system; and maintain an irrigation system. |
| --- | --- |

| Classification | Horticulture > Production Horticulture |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Legislation relevant to this unit standard includes but is not limited to:

- Health and Safety at Work Act 2015;

and any subsequent amendments.

2	All evidence presented in this unit standard must be in accordance with workplace procedures.

3	Definition

Workplace procedures refer to policies and procedures on safety, operation, and production set down by the employer or host organisation.

Outcomes and performance criteria

Outcome 1

Describe irrigation filters.

Range	at least two types of filters used in the workplace.

Performance criteria

1.1	Describe irrigation filters in terms of their working principles and maintenance requirements.

Outcome 2

Repair a leaking or broken irrigation pipe.

Range	at least two types of irrigation pipe materials.

Performance criteria

2.1	Repair the damaged pipe with correct replacement equipment.

2.2	Seal leaks without water or pressure loss.

2.3	Restore pipe to its original position.

Outcome 3

Carry out pre-season maintenance of an irrigation system.

Performance criteria

3.1	Check and clean components of an irrigation system.

3.2	Flush the irrigation system.

3.3	Replace any damaged irrigation components.

Outcome 4

Maintain an irrigation system.

Performance criteria

4.1	Inspect the irrigation system daily and identify and report to supervisor any blocked emitters and leaks.

4.2	Maintain a diary of maintenance work carried out.

4.3	Maintain irrigation components ensuring no leak or pressure variation.

4.4	Measure and record output from an emitter or per unit area.

| Planned review date | 31 December 2026 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 25 July 2006 | 31 December 2021 |
| Review | 2 | 19 January 2017 | 31 December 2024 |
| Review | 3 | 27 May 2021 | N/A |
| Revision | 4 | 25 November 2021 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0052 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Muka Tangata – People, Food and Fibre Workforce Development Council qualifications@mukatangata.nz if you wish to suggest changes to the content of this unit standard.