| Title | Check, coat and reinforce polystyrene substrate to form a Proprietary Plaster Cladding System on site |
| --- | --- |
| Level | 3 | Credits | 20 |

| Purpose | People credited with this unit standard are able to: check polystyrene substrate on site is fit for purpose for coating and reinforcing; describe remedial work as required to allow the coating and reinforcing of polystyrene board; mask and protect the adjoining surfaces to polystyrene substrate; prepare and complete the surface, joinery, junctions, transitions, and penetrations in the polystyrene substrate; mix and condition base coat plaster and describe specific storage conditions; and apply base coat plaster and reinforcement mesh and determine curing and protection requirements. |
| --- | --- |

| Classification | Construction Trades > Proprietary Plaster Cladding Systems |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Definitions

EIFS means Exterior Insulation and Finishing System.

On site refers to a wide range of building and construction environments within which the Proprietary Plaster Cladding Systems trade skills are applied.

Polystyrene substrate refers to expanded and extruded types of polystyrene board that may be used as a substrate for Proprietary Plaster Cladding Systems.

Specifications refers to documented instructions (oral, written, graphic) and may include any of the following:  manufacturer’s specifications, recommendations or technical data sheets; material specifications; specifications from a specialist source such as an architect, designer, engineer or a supervisor; site or work specific requirements.

2	Legislation, regulations, codes and standards relevant to this unit standard include:

Health and Safety in Employment Act 1992;

Health and Safety in Employment Regulations 1995;

Resource Management Act 1991;

Hazardous Substances and New Organisms Act 1996; Building Act 2004;

New Zealand Standards, NZS 4218:2004 Energy efficiency – Small building envelope and NZS 3604:1999 Timber Framed Buildings, available from Standards NZ (http://www.standards.co.nz);

New Zealand Building Code;

Territorial Authorities’ building regulations.

3	Credit for this unit standard indicates compliance with industry practice.  Industry practice refers to the ability to demonstrate knowledge and skills that reflect the productivity, uniformity, finish quality and material economies currently accepted within industry.

Outcomes and performance criteria

Outcome 1

Check polystyrene substrate on site is fit for purpose for coating and reinforcing.

Performance criteria

1.1	Substrate condition is checked on site as suitable for coating and reinforcing in accordance with manufacturer’s specifications.

Range	clean, dry, dust free, flat, neatly fitting.

1.2	Construction details are checked for compliance with the manufacturer’s specifications and working drawings.

Range	fixings, penetrations, flashings, control joints, interstorey joints, cavity details, ground clearance, fascia clearance.

Outcome 2

Describe remedial work as required to allow the coating and reinforcing of polystyrene board.

Performance criteria

2.1	Actions required in the event that coating and reinforcing of the polystyrene board cannot be undertaken in accordance with working drawings, specifications and manufacturer’s instructions, are described.

Range	three of – builder, designer, developer, owner, supplier, manufacturer, subcontractor.

Outcome 3

Mask and protect the adjoining surfaces to polystyrene substrate.

Performance criteria

3.1	Masking products are identified and their application and purpose are described in terms of meeting the job requirements.

Range	PVC tape, paper tape, cloth tape, masking paper, plastic sheet, tape primer.

3.2	Types of masking equipment are identified and their use and purpose are described in terms of meeting the job requirements.

Range	masking machines, tape dispensers.

3.3	Adjoining surfaces are masked in accordance with manufacturer’s specifications and work by other trades is protected, in accordance with the job requirements.

Outcome 4

Prepare and complete the surface, joinery, junctions, transitions, and penetrations in the polystyrene substrate.

Performance criteria

4.1	The placement and fixing of PVC beads and proprietary flashings is determined and completed in accordance with EIFS manufacturer’s specifications and job requirements.

Range	five of – base beads, angle beads, construction beads, joinery beads and flashings, parapet flashings, saddle flashings, control joints.

4.2	The surface preparation of the beads and flashings is determined and completed in accordance with the EIFS manufacturer’s specifications and job requirements.

Range	cleaning, priming, stopping.

4.3	The preparation of the polystyrene surface is determined and completed in accordance with EIFS manufacturer’s specifications and job requirements.

Range	dryness, cleanliness, flatness, neatly fitting, surface deterioration.

4.4	The placement, size, and quality of flexible bead sealant is determined and applied in accordance with the both the EIFS and sealant manufacturers’ specifications and job requirements.

Outcome 5

Mix and condition base coat plaster and describe specific storage conditions.

Performance criteria

5.1	Measuring and mixing of selected proprietary plasters are described and completed in accordance with the EIFS manufacturer’s specifications and job requirements.

Range	six of – selection of product, mixing instructions, weights, volumes, suitable container, drill mixers, water content, personal protection, proprietary additives.

5.2	Storage and care of mixed plaster are described in accordance with the manufacturers’ specifications.

Range	pot life, retempering, temperature, covering, contamination, disposal.

Outcome 6

Apply base coat plaster and reinforcement mesh and determine curing and protection requirements.

Performance criteria

6.1	Base coat plaster is applied to the polystyrene board surface according to the EIFS manufacturer’s specifications and job requirements.

Range	two of – hawke, trowel, hopper gun, plaster pump, broadknife.

6.2	Reinforcing mesh is selected, cut and placed in accordance with EIFS manufacturer’s specifications and job requirements.

Range	three of – lapping, back wrapping, reveal reinforcing, corner opening reinforcing, stress point reinforcing.

6.3	Curing and protection requirements for base coat plaster are determined in accordance with the material used, time of application, EIFS manufacturer’s specifications, weather conditions, and the working environment.

Range	three of – shade, moist cure, weather protection, overcoat times, temperature, protection from site damage.

| Replacement information | This unit standard replaced unit standard 17509. |
| --- | --- |

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 24 January 2006 | 31 December 2024 |
| Review | 2 | 26 January 2007 | 31 December 2024 |
| Review | 3 | 30 June 2022 | 31 December 2024 |

| Consent and Moderation Requirements (CMR) reference | 0048 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.