| Title | Explain pre design issues and discuss the design of a resource recovery facility and its components |  |  |
| --- | --- | --- | --- |
| Level | 5 | Credits | 15 |

| Purpose | People credited with this unit standard are able to: explain pre design issues for a resource recovery facility; and discuss the design of a resource recovery facility and its components. |
| --- | --- |

| Classification | Resource Recovery > Resource Recovery Operations |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	References relevant to this unit standard include but are not limited to The New Zealand Waste Strategy: Reducing Harm, Improving Efficiency 2010 Ministry for the Environment, available at http://www.mfe.govt.nz.

2	The unit standard will be assessed on evidence that demonstrates understanding of the issues involved whether gained from practical experience or by theoretical knowledge of a selected resource recovery facility.

Outcomes and performance criteria

Outcome 1

Explain pre design issues for a resource recovery facility.

Performance criteria

1.1	The explanation identifies issues arising at facility proposal, design, management, operation, maintenance, and growth stages.

1.2	The explanation identifies environmental issues and describes their implications for the facility.

Range	implications include but are not limited to – compliance with legislation, emergency response plan, community impact.

1.3	The explanation identifies and describes economic issues for viability of the facility and clarifies key issues relating to the supply of recovered resources.

Range	viability – short term, long term; supply – consistency, volume, future development.

1.4	The explanation identifies and describes design issues and provides solutions that maximise sustainability, efficiency, economy, and health and safety.

1.5	The explanation identifies and describes operational issues and provides solutions that follow the principle of zero waste.

Range	operational issues include but are not limited to – resource collection, sorting, storage, processing, staff training, educating the users.

Outcome 2

Discuss the design of a resource recovery facility and its components.

Performance criteria

2.1	The discussion assesses the design of the facility in relation to the principle of closing the loop.

2.2	The discussion of access and egress clarifies design requirements and determines solutions that meet the current and future needs of the operator and the users of the facility.

Range	requirements include but are not limited to – opening times, traffic flow, delivery space, delivery time, restrictions, security; security may include but is not limited to – weighbridge, gate station, designated areas.

2.3	The discussion of process and equipment selection assesses the design for current efficiency, and long term sustainability.

Range	process – collection, delivery, sorting, storage, treatment, disposal.

2.4	The discussion of storage design selects types appropriate for the resources to be received and/or recovered.

Range	resources include but are not limited to three of – hazardous, liquid, solid, bulky, fragile, organic.

2.5	The content of signage is discussed in terms of advising and educating the public or clients to meet facility acceptance requirements.

2.6	Design of signage and labels is discussed in accordance with legislation and in relation to clarity, consistency, and colour.

2.7	The discussion assesses the design for coverage of factors essential to the development and operation of the facility.

Range	includes – objectives, resources that are available to meet objectives, time frame, responsibilities and training of people who will be involved in the facility, contingencies, methods for evaluating the achievement of the objectives.

| Planned review date | 31 December 2023 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 26 January 2007 | N/A |
| Rollover and Revision | 2 | 28 March 2019 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0014 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact MITO New Zealand Incorporated info@mito.org.nz if you wish to suggest changes to the content of this unit standard.