| Title | Demonstrate knowledge of gas pressure control and metering station design |  |  |
| --- | --- | --- | --- |
| Level | 5 | Credits | 10 |

| Purpose | People credited with this unit standard are able to: - demonstrate knowledge of design specifications for gas pressure control and metering stations in a gas network; and - demonstrate knowledge of and interpret design drawings for gas pressure control and metering stations for a gas network. |
| --- | --- |

| Classification | Gas Industry > Gas Network Operations |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable manufacturer specifications, company procedures, and legislative requirements.

2	Legislation, regulations, and standards relevant for this unit standard include:

- Gas Act 1992;

- Health and Safety at Work Act 2015;

- Resource Management Act 1991;

- Gas (Safety and Measurement) Regulations 2010;

- AS 2885.1-2018 Pipelines – Gas and liquid petroleum Design and construction; available from www.standards.org.au;

- AS/NZS 4645.1: 2018 Gas distribution networks – Part 1: Network management;

- AS/NZS 4645.2: 2018 Gas distribution networks – Part 2: Steel pipe systems;

- AS/NZS 4645.3: 2018 Gas distribution networks – Part 3: Plastic pipe systems;

- NZS 5259: 2015 Gas measurement; www.standards.govt.nz;

- ISO 9000; available from www.iso.org;

and any subsequent amendments and replacements.

3	Definitions

Company procedures refers to the documented methods for performing work activities, and include health and safety, operational, environmental, and quality management requirements.  They may refer to legislation, regulations, guidelines, standard operating procedures, manuals, codes of practice, or policy statements.

OPSO refers to Over Pressure Shut Off.

Symbols refers to the shape used in an engineering drawing to symbolise gas pressure control and metering equipment.

UPSO refers to Under Pressure Shut Off.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of design specifications for gas pressure control and metering stations in a gas network.

Performance criteria

1.1	Gas delivery requirements for gas pressure control and metering stations are explained.

Range	maximum and minimum pressures, demand/flow profiles, temperature, security of supply, data and monitoring, upstream network.

1.2	Methods and requirements for pressure protection are described.

Range	OPSO, UPSO, token/creep relief, full relief, pilot operated relief, slam shut, monitor regulator.

1.3	Pressure regulator selection criteria are described.

Range	lock-up capability, seat balance, noise levels, accuracy range, flow capacity, droop, pilot operated versus direct, maintenance, life-cycle, temperature, composition material, coating.

1.4	Typical station designs are described in terms of their configuration and operation.

Range	single stream, twin stream, monitor-active, active-slam, monitor-active-slam, staged pressure reduction.

1.5	Factors to consider for the location of gas pressure control and metering stations are described.

Range	security, environmental, safety, access, effect on the network, hazardous areas, aesthetics, land use, ground stability, earthing and bonding.

1.6	Design of pressure control and gas metering stations are described in terms of their requirements.

Range	equipment and material specifications, pipe sizing, meter, vent discharges, sensing lines, inlet/outlet connection location and size, filtration, heating, isolation valves, corrosion protection, pressure and temperature gauges.

Outcome 2

Demonstrate knowledge of and interpret design drawings for gas pressure control and metering stations for a gas network.

Performance criteria

2.1	Symbols used in design drawings for gas pressure control and metering stations are identified in terms of their purpose and application to gas network operations.

2.2	Design drawings are assessed for the inclusion of safety and environmental factors applicable to a gas network.

| Planned review date | 31 December 2027 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 20 November 2006 | 31 December 2020 |
| Review | 2 | 17 August 2017 | 31 December 2025 |
| Revision | 3 | 30 August 2018 | 31 December 2025 |
| Review | 4 | 24 November 2022 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0014 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@WaihangaAraRau.nz if you wish to suggest changes to the content of this unit standard.