| Title | Demonstrate knowledge of brix measurement procedures and take brix samples |  |  |
| --- | --- | --- | --- |
| Level | 2 | Credits | 2 |

| Purpose | People credited with this unit standard are able to: demonstrate knowledge of brix measurement procedures; and take brix samples. |
| --- | --- |

| Classification | Food and Related Products Processing > Food and Related Product Production |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Legislation relevant to this unit standard may include but is not limited to:
Health and Safety at Work Act 2015.
Food Act 2014.
Food Regulations 2015.
Resource Management Act 1991.

2	Definitions

Organisational procedures refer to documents that include: worksite rules, codes, and practices; equipment operating instructions; manufacturer’s specifications; production specifications; documented quality management systems; and health and safety requirements, including the use of PPE.

PPE refers to personal protective equipment such as protective clothing, gloves, safety glasses, headwear, footwear, hearing protection, safety devices.

3	Assessment information

All activities and evidence must be in accordance with organisational procedures.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of brix measurement procedures.

Performance criteria

- 1.1	The meaning of the term brix is described.

- Range	refining process – process flows, finished products.

- 1.2	The methods for measuring brix are described.

- Range	equipment – laboratory refractometer, hand-held refractometer, spindle hydrometer.

- 1.3	Reasons for possible deviations from expected brix values are explained.

Range	deviations include but are not limited to – instrument calibration, temperature.

- 1.4	The impact of deviations from expected brix values to the process are explained.

Outcome 2

Take brix samples.

Performance criteria

- 2.1	Brix sampling equipment is handled in a manner which avoids contamination in accordance with manufacturer’s specification.

- 2.2	Brix sampling equipment is checked for function, and faults are identified and repaired or reported.

- 2.3	Brix samples are taken in accordance with laboratory protocol, recorded, and labelled.

Range	includes but is not limited to – micro-sampling, process sampling, finished product sampling.

| Planned review date | 31 December 2025 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 27 February 2008 | 31 December 2022 |
| Review | 2 | 25 February 2021 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0013 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Competenz qualifications@competenz.org.nz if you wish to suggest changes to the content of this unit standard.