| Title | Prepare and interpret diagrams for instrumentation and control systems |
| --- | --- |
| Level | 3 | Credits | 3 |

| Purpose | This unit standard covers drawing and interpreting diagrams used to document the operation and connection of instrumentation and control systems. People credited with this unit standard are able to: – prepare diagrams of industrial measurement and control systems; and; – interpret diagrams of industrial measurement and control systems. |
| --- | --- |

| Classification | Industrial Measurement and Control > Industrial Measurement and Control - Theory |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Definitions

IEC – International Electrotechnical Commission.

Industry requirements – includes all asset owner requirements; manufacturers’ specifications; enterprise requirements which cover the documented workplace policies, procedures, specifications, and business requirements; and quality management requirements relevant to the workplace in which the assessment is carried out.

ISA – International Society for Automation.

ISO – International Organisation for Standardisation.

2	Range

a	Diagrams may include but are not limited to – piping and instrumentation diagrams (P & ID); process flow diagrams; single-line diagrams; loop diagrams.

b	Diagrams must include all relevant details and principal elements appropriate to the type of drawing.

c	All diagrams must comply with industry or site standards.

d	Neat sketches will be adequate to demonstrate competence.

Outcomes and performance criteria

Outcome 1

Prepare diagrams of industrial measurement and control systems.

Range	evidence of a minimum of four diagrams is required, which may all relate to the same part of a system.

Performance criteria

1.1	Draw diagrams relating to the process operation using standard symbols and formats.

1.2	Draw diagrams with layouts that aid interpretation of measurement and control systems.

Outcome 2

Interpret diagrams of industrial measurement and control systems.

Range	evidence of at least four diagrams of different types is required.

Performance criteria

2.1	Interpret a diagram to explain system operation.

2.2	Explain system functions and items included in a diagram in accordance with industry requirements.

| Planned review date | 31 December 2021 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 19 May 2008 | 31 December 2019 |
| Review | 2 | 28 November 2013 | N/A |
| Rollover | 3 | 28 June 2018 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact The Skills Organisation reviewcomments@skills.org.nz if you wish to suggest changes to the content of this unit standard.