| Title | Explain the properties of conductors, insulators, and semiconductors and their effect on electrical circuits |  |  |
| --- | --- | --- | --- |
| Level | 2 | Credits | 7 |

| Purpose | This unit standard covers knowledge of the properties of conductors, insulators, and semiconductors and the concepts of voltage, current, and resistance in electrical circuits, which underpins all technical careers in the electrical and electronic industries. People credited with this unit standard are able to: – demonstrate knowledge of electrical conductors, insulators, and semiconductors – demonstrate knowledge of resistance, resistivity, and resistors – demonstrate knowledge of resistor characteristics – compare calculated with measured values in resistive circuits – demonstrate knowledge of electrical power and energy – analyse resistive circuits. |
| --- | --- |

| Classification | Electrical Engineering > Core Electrical |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	This unit standard has been developed for learning and assessment off-job.

2	Definitions

EMF – electromotive force.

Industry practice – those practices that competent practitioners within the industry recognise as current industry best practice.

LDR – light dependent resistor.

NTC – negative temperature co-efficient.

PTC – positive temperature co-efficient.

PVC – polyvinyl chloride.

Safe and sound practice – as it relates to the installation of electrical equipment is defined in AS/NZS 3000 (version as cited by Electricity (Safety) Regulations), Electrical Installations (known as the Australian/New Zealand Wiring Rules).

VDR – voltage dependent resistor.

3	For assessment purposes:

a	Candidates will be supplied with formulae involving more than three quantities.

b	Candidates are supplied with data tables and colour code charts.

c	Use of a calculator during assessment is permitted.

d	Candidates are expected to express calculated values in the relevant Système Internationale (SI) units, including multiples and sub-multiples, for example: pico (p) 10-12; nano (n) 10-9; micro (μ) 10-6; milli (m) 10-3; kilo (k) 103; mega (M) 106; Giga (G) 109; and to be able to convert between them.

4	Range

a	Formulae quoted in this unit standard use internationally recognised symbols and units.

b	Conventional current flow direction (positive to negative) is implied.  Candidates should be aware of the opposite direction of electron flow.

c	Candidates may refer to current legislation and Standards during assessment.

d	Demonstration of safe working practices and installation in accordance with safe and sound practice are essential components of assessment of this unit standard.

e	All activities and evidence presented for all outcomes and performance criteria in this unit standard must be in accordance with:

i	legislation

ii	policies and procedures

iii	ethical codes

iv	Standards – may include but are not limited to those listed in Schedule 2 of the Electricity (Safety) Regulations 2010

v	applicable site, enterprise, and industry practice

vi	where appropriate, manufacturers’ instructions, specifications, and data sheets.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of electrical conductors, insulators, and semiconductors.

Performance criteria

1.1	Describe the nature of conductors, insulators, and semiconductors in terms of their atomic structure.

Range	conductors – loosely-bound valence electrons;

insulators – tightly-bound valence electrons;

semiconductors – sharing of valence electrons.

1.2	State typical uses of conductors and insulators.

Range	evidence of three uses for conductors and three uses for insulators is required.

1.3	Identify conductor and insulator materials suitable for given environmental conditions, and state reasons for their suitability.

Range	conductors – copper, silver, aluminium, tungsten, carbon, nichrome, brass, gold, lead, tin;

insulators – glass, mica, oil, ceramics, rubber, PVC;

environmental conditions – heat, moisture, corrosive materials, dust, tension, compression, vibration;

evidence is required of one electrical conductor and one electrical insulator material for each environmental condition.

Outcome 2

Demonstrate knowledge of resistance, resistivity, and resistors.

Performance criteria

2.1	Describe resistance in terms of opposition to current flow.

2.2	State the unit for resistance and draw the symbol.

2.3	State the factors affecting resistance and the relationships between them.

Range	factors – length, cross-sectional area, resistivity of material, temperature, temperature co-efficient of resistance;

relationship – .

2.4	Describe briefly linear and non-linear resistors with reference to their construction, operating characteristics, symbols, connections, and applications.

Range	linear resistors include – carbon, metal film, wire-wound, slider potentiometer, rotary carbon potentiometer, rheostat;

non-linear resistors include – NTC thermistor, PTC thermistor, VDR, LDR;

evidence of two linear and two non-linear resistors is required.

2.5	Identify materials commonly used for conductors, insulators, and semiconductors and list in order of their resistivity.

Range	conductors – copper, brass, silver, gold, aluminium, steel, tungsten, carbon, nichrome, lead, tin;

insulators – rubber, PVC, ceramics, mica, glass;

semiconductors – silicon, germanium.

2.6	Explain the concept of insulation resistance of a cable in terms of typical values and the effect of cable length.

2.7	Calculate insulation resistance for a specified length of cable from the known insulation resistance of a different length of the same cable.

Outcome 3

Demonstrate knowledge of resistor characteristics.

Performance criteria

3.1	State the meanings of the terms tolerance, preferred values, stability, power rating, power dissipation, voltage rating, and current rating, as used in connection with resistors.

3.2	Interpret resistor markings relating to resistance, rating, and tolerance.

Range	evidence of three different linear resistors is required.  Use of resistor colour code chart is permitted.

Outcome 4

Compare calculated with measured values in resistive circuits.

Range	circuits – series, parallel and series-parallel combinations of up to five resistances, a single source of EMF, internal resistance;

values – resistance, applied EMF, volt-drop, current, power.

Performance criteria

4.1	Define Ohm's Law.

4.2	Describe the relationship between resistance, voltage, and current in terms of the effect that a change in any one value has on the other two.

4.3	Calculate values for a given circuit.

4.4	Compare values from measurements on a circuit to calculated values for the same circuit.

4.5	Explain variations between measured and calculated values in terms of component tolerance, supply variations, non-linear components, and instrument and measurement accuracy.

Outcome 5

Demonstrate knowledge of electrical power and energy.

Performance criteria

5.1	Define electrical power in terms of voltage, current, and resistance, and state its unit and symbol.

5.2	Calculate total power, and power in individual resistors, from given data for series circuits, parallel circuits, and series-parallel circuits.

5.3	Define energy in terms of power and time taken, and state its units and symbols.

5.4	Convert horsepower values to kilowatts.

5.5	Describe efficiency in terms of the relationship between input and output powers of electrical machines.

5.6	Calculate quantity and cost of energy from given data for a simple domestic loading, and express in kilowatt-hours and dollars.

Outcome 6

Analyse resistive circuits.

Range	resistive circuits – one source of EMF, up to five resistances connected in any combination, one internal resistance.

Performance criteria

6.1	Define Kirchoff's Laws for voltage and current.

6.2	Calculate the total resistance of a circuit from resistor values.

6.3	Calculate the current flowing in any part of the circuit and verify Kirchoff's Current Law.

6.4	Calculate the voltage across any two points in the circuit and verify Kirchoff's Voltage Law.

| Replacement information | This unit standard, unit standard 25071, and unit standard 25072 replaced unit standard 15843. |
| --- | --- |

| Planned review date | 31 December 2025 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 22 August 2008 | 31 December 2021 |
| Rollover and Revision | 2 | 15 March 2012 | 31 December 2021 |
| Revision | 3 | 15 January 2014 | 31 December 2021 |
| Review | 4 | 21 July 2016 | N/A |
| Rollover and Revision | 5 | 25 May 2023 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact the Waihanga Ara Rau Construction and Infrastructure Workforce Development Council qualifications@WaihangaAraRau.nz if you wish to suggest changes to the content of this unit standard.