| Title | Describe re-roofing an existing metal roof |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 5 |

| Purpose | This unit standard is intended for use in the training and assessment of people carrying out metal roof and wall cladding installation and covers knowledge of re-roofing an existing metal roof. People credited with this unit standard are able to demonstrate knowledge of: - the planning and checks required prior to re-roofing; and - re-roofing procedures for metal roofs. |
| --- | --- |

| Classification | Plumbing, Gasfitting and Drainlaying > Roofing |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	This unit standard has been developed for learning and assessment on-job and off-job.

2	References

Construction Contracts Act 2002;

Historic Places Act 1993;

Local Government Act 2002;

Building Act 2004 and associated regulations;

Health and Safety at Work Act 2015;

Resource Management Act 1991;

Acceptable Solutions and Verification Methods for New Zealand Building Code Clause E2 External Moisture;

New Zealand Metal Roof and Wall Cladding Code of Practice;

Licensed Building Practitioner Scheme – Understanding the Regulatory Environment Booklet – available at: http://www.business.govt.nz/lbp/the-board/getting-licensed/applying-for-licensing;

NZS 3604:2011 Timber-framed buildings;

NZS 3902:2004 Housing, alterations and small buildings contract;

NZS 4121:2001, Design for access and mobility: Buildings and associated facilities;

New Zealand Building Code Hand Book – available at: http://www.building.govt.nz/building-code-compliance/building-code-and-handbooks/building-code-handbook;

and all subsequent amendments and replacements.

3	This unit standard applies to both new roof and re-roofing installations.

4	Range

a	Candidates must refer to current legislation and Standards during assessment.

b	Demonstration of safe working practices are essential components of assessment of this unit standard.

c	All activities and evidence presented for all outcomes and performance criteria in this unit standard must be in accordance with:

i	legislation;

ii	policies and procedures;

iii	ethical codes;

iv	Standards – may include but are not limited to those cited in the New Zealand Building Code Hand Book;

v	applicable site, enterprise, and industry practice; and,

vi	manufacturers’ instructions, specifications, and data sheets.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of the planning and checks required prior to re-roofing.

Performance criteria

1.1	Describe roof inspection activities in terms of determining the condition and potential hazards before installing the new roof.

1.2	Identify issues to consider with regards to a re-roof project.

Range	includes but is not limited to – compliance requirements, insulation, material change, local body requirements.

1.3	Describe the requirements of a re-roofing project risk assessment.

Range	includes but is not limited to – brittle materials, asbestos, purlins that require re-screwing.

1.4	Describe site check activities in accordance with site procedures.

Range	site preparation, health and safety checks and signs, site hazards.

1.5	Describe work planning sequence in terms of minimising impact to occupants and potential risks of exposure damage to house.

1.6	Explain the purpose of the work sheet, plan, or job schedule in terms of defining the work to be done and potential hazards.

1.7	Describe fastening length checks to ensure compatibility with existing structure.

1.8	Describe disposal planning for the removed roofing.

1.9	Explain the New Zealand Building Code compliance requirements for re-roofing in accordance with territorial authority requirements.

Outcome 2

Demonstrate knowledge of re-roofing procedures for metal roofs.

Performance criteria

2.1	Describe the process of removing existing fixings and sheets.

2.2	Describe storage and handling requirements of existing and new roofing sheets.

2.3	Compare fastening methods suitable for re-roofing with new installations.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 23 January 2009 | 31 December 2020 |
| Review | 2 | 16 March 2017 | 31 December 2027 |
| Rollover | 3 | 25 August 2022 | 31 December 2027 |
| Review | 4 | 28 November 2024 | 31 December 2027 |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.