| Title | Describe, identify and interpret drawings for plumbing, gasfitting and drainlaying |  |  |
| --- | --- | --- | --- |
| Level | 2 | Credits | 4 |

| Purpose | People credited with this unit standard are able to: describe the purpose of drawings in plumbing, gasfitting and drainlaying; and identify and interpret drawing information in plumbing, gasfitting and drainlaying. |
| --- | --- |

| Classification | Plumbing, Gasfitting and Drainlaying > Core Plumbing, Gasfitting, and Drainlaying |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

Competence for this standard is intended to be demonstrated across the range of common drawing types used on-job in plumbing, gasfitting and drainlaying contexts.

Outcomes and performance criteria

Outcome 1

Describe the purpose of drawings in plumbing, gasfitting and drainlaying.

Performance criteria

1.1	Different drawing types are described in terms of their varying purposes.

Range	may include – working drawing, isometric drawing, sketch, detail drawing.

1.2	Drawing information requirements are described in terms of different stakeholder requirements.

1.3	Description includes purpose of drawings in ensuring that projects are built as intended.

Outcome 2

Identify and interpret drawing information in plumbing, gasfitting and drainlaying.

Performance criteria

2.1	Different elevations are referenced to obtain information relevant to job requirements.

2.2	Title block is referenced to determine drawing information.

Range	scale, draftsperson, date, version, project.

2.3	Dimensions are read from drawings in accordance with job requirements.

2.4	Information is interpreted using drawing symbols in accordance with job requirements.

2.5	Information is interpreted from drawing sections in accordance with job requirements.

Range	may include dimensions, equipment lay-out, space information for running pipes, construction detail.

2.6	Geographic site orientation of building or related parts is interpreted relative to North.

2.7	Information is identified and interpreted from large scale drawing detail in accordance with job requirements.

| Planned review date | 31 December 2029 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 23 January 2009 | 31 December 2026 |
| Review | 2 | 12 December 2024 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0008 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council qualifications@waihangaararau.nz if you wish to suggest changes to the content of this unit standard.